DRAFT

Somali Joint Needs Assessment

Infrastructure Cluster Report

June 2006

GLOSSARY OF ACRONYMS

CACAS	Civil Aviation Caretaker Authority for Somalia

CDD		Community Driven Development

COMESA	Common Market for Eastern and Southern Africa

DOH		Department of Highways

EC		European Community

EIIP		Employment Intensive Infrastructure Program

ENEE		Ente Nazionale Energia Elettrica (ENEE)

ESI		Electricity Supply Industry

EU		European Union

GDP		Gross Domestic Product

GOS		Government of Somalia

GUMCO 	Golden Utilities Management Company)

HR		Horn Relief

IC		Infrastructure Cluster

ICAO		International Civil Aviation Organization

IMO		International Maritime Organization

ISAP		Institutional Strengthening Action Plan

JNA		Joint Needs Assessment

MDG		Millennium Development Goals

MFMT		Ministry of Fishing and Maritime Transport

MGSTA	Mumin Global Service and Trading Agency

MLAT		Ministry of Land and Air Transport

MNP		Ministry of National Planning

MPWH		Ministry of Public Works and Housing

NEPAD	New Partnership for Africa’s Development

NESHA	North Eastern Somalia Highways Authority

NGO		Non-Government Organization

PCNA		Post Conflict Needs Assessment

PHA		Puntland Highway Authority

PSAWEN	Puntland State Agency for Water, Energy and Natural Resources

RDP		Reconstruction and Development Program

RMF		Road Maintenance Fund

RMI		Road Management Initiative

SC		South-Central

SRA		Somaliland Roads Authority

SSAL		Somalia Shipping Agency and Line

SSATP		Sub-Saharan Africa Transport Policy Program

TFG		Transitional Federal Government

UNDP		United Nations Development Programme

WB		World Bank

WBE		Women Owned Enterprises

WFP		World Food Program

WTO		World Trade Organization

WUA		Water Users Association

TABLE OF CONTENTS

Page

EXECUTIVE SUMMARY	viii

- INTRODUCTION	1

Objectives and Scope	1

Key Cluster Issues	1

Key Reconstruction and Development Objectives	3

Structure of Report	4

- TRANSPORT INFRASTRUCTURE	6

Introduction	6

(A)	Roads & Bridges	6

Status and context	6

Institutional and Legal framework	7

Identification of needs, issues and opportunities	8

Cost of reconstruction and development priorities broken down into

Short-term (2 yrs.) and Medium-term (5 yrs.) priorities.	11

Implementation, monitoring and institutional arrangements

(B)	Air Transport/Civil Aviation	13

Status and context	13

Institutional and Legal framework	13

Identification of needs, issues and opportunities	14

Cost of reconstruction and development priorities broken down into

Short-term (2 yrs.) and medium term (5 yrs.) priorities	14

Implementation, monitoring and institutional arrangements	15

(C)	Ports and Shipping	15

Status and context	15

Institutional and Legal framework	16

Implementation, monitoring and institutional arrangements	17

(D)	Estimated reconstruction and development costs broken down by region and duration (short and medium term)	17

Somaliland	17

Puntland	18

South-Central Somalia	19

III.	POWER AND ENERGY	23

Introduction	23

The Electricity Grid	24

Rural Systems	26

Consumer connection and sale of electricity	27

Identification of Needs, Issues and Opportunities	28

Short Term (2 years)	28

Overall Energy Situation	28

Areas of immediate needs	29

Proposed arrangements for immediate needs	29

Alternative sources of energy	29

Electricity	.30

Policies and Institutional framework required for immediate needs	33

Costs	33

Electricity	34

Medium Term (5 years)	34

Strategic objectives and policies	34

Institutional and Legal Framework	35

Costs	35

Implementation, monitoring and institutional arrangements	36

IV. 	URBAN INFRASTRUCTURE	37

Introduction	37

Status and context	37

Institutional and legal framework	38

Strong role of non-governmental entities in urban sector development	38

Criteria for selection of priority targets of JNA investments	39

Approach of urban infrastructure assessments and needs	39

(A)	Urban water	40

Status and context	40

Institutional and legal framework	41

Regional Situation	41

Somaliland	41

The State of Puntland	42

South and Central Somalia (excluding Benadir)	43

Benadir region (Greater Mogadishu)	43

Institutional and legal framework	44

Implementation and institutional arrangements	45

Monitoring	46

(B)	Urban waste management	46

Situation and context	46

Solid waste	46

Liquid waste/sanitation	47

Policy and Institutional framework	47

Identification of needs, issues and opportunities	50

(C)	Urban roads	51

Implementation and institutional arrangements	53

Links and other JNA sectors	53

Crosscutting issues	54

(D)	Shelter for the IDPs and the urban poor	54

Context and situation analysis	54

Institutional and legal framework	54

Identification of needs, issues and opportunities	55

Implementation and institutional arrangements	58

Links and other clusters/sectors	58

Crosscutting issues	58

(E)	Other municipal infrastructure	59

Context and situation analysis	59

Institutional and legal framework	59

Identification of needs, issues and opportunities	59

Implementation and institutional arrangements	60

Links and other clusters	61

(F)	Urban planning as a strategic policy framework	61

Context and situation analysis	61

Identification of needs, issues and opportunities	62

Implementation and institutional arrangements	63

Links and other clusters/sectors	64

V.	LINKS TO OTHER SECTORS AND CROSSCUTTING THEMES	65

Introduction	65

Crosscutting Themes	65

Gender Aspects in Development and Management of Transport Infrastructure	66

- Somali Joint Needs Assessment – Draft Results Matrix for Infrastructure Cluster	67

- Arrangements for Results Monitoring and Reporting	80

ANNEX II - TRANSPORT INFRASTRUCTURE…………………………………………..84

A.1. Major Road Links in Somaliland	84

A2. Summary of Major Roads in Puntland	84

A3. Summary of Major Roads in South-Central Somalia	85

A4. Summary of Major Roads in South Somalia	85

A5. Summary of Major Roads in South West Somalia	85

C1. Berbera Port Itemized Needs	86

ANNEX III.1: SUMMARY RENEWABLE ENERGY REPORT	87

ANNEX IV.1: 	96

REFERENCES

II. Transport Infrastructure	97

III. Power and Energy	97

IV. Urban Infrastructure	98

LIST OF BOXES, FIGURES, AND TABLES

List of Boxes

Box 1.	Example of a private water supplier in Puntland	42

Box 2.	Examples of a successful private water supplier in the SC Somalia	43

List of Figures

Figure 1 An example of electrical distribution lines in Hargeisa 	26

Figure 1 Annex III.1– Winds in Horn of Africa 	90

Figure 2 Annex III.1-Wind Map of Somalia 	89

List of Tables

Table 2.1 Road Network by Administrative Classification and Surface Type	6

Table 2.2 Airport Classification and Location	13

Table 2.3 Ports Classification and Locations	16

Table 2.4 Short Term (Two Year) Priority Matrix (Somaliland Transport Sector) 	17

Table 2.5 Medium Term (Five Year) Priority Matrix (Somaliland Transport Sector) 	18

Table 2.6 Short Term (Two Year) Priority Matrix (Puntland Transport Sector) 	19

Table 2.7 Medium Term (Five Year) Priority Matrix (Puntland Transport Sector)	19

Table 2.8 Short Term (Two Year) Priority Matrix (S-C Somalia Roads Sub-Sector) 	21

Table 2.9 Medium Term (Five Year) Priority Matrix (S-C Somalia Roads) 	21

Table 2.10 Short Term (Two Year) Priority Matrix (S-C Somalia Airport/Ports) 	22

Table 2.11 Medium Term (Five Year) Priority Matrix (S-C Somalia Airport/Port Repairs)	22

Table 3.1 Electricity Agencies/Authorities in Somalia	24

Table 3.2 Route Lengths of 15kV feeder lines – Somaliland, Puntland and Some S-C Somalia Locations.	25

Table 3.3 Installed Generation at Various Power Stations	27

Table 3.4 Hargeisa Power Station production	28

Table 3.5 Transmission & distribution construction required in the short-term	31

Table 3.6 Additional generation required to be installed a various places	32

Table 3.7 Estimated cost of implementing the short-term needs	34

Table 3.8 Estimated cost of implementing medium term needs	36

Table 4.1 Division of water sector responsibilities in Somaliland 	42

Table 4.2 Division of water sector responsibilities in Puntland	43

Table 4.3 Short term (2-year) priority interventions in urban water supply	44

Table 4.4 Medium term (5-year) strategic investments in urban water supply 	45

Table 4.5 Immediate (2-year) interventions in solid & liquid waste management 	48

Table 4.6 Medium term (5-year) strategic investments in solid & liquid waste management	49

Table 4.7 Immediate (2-year) interventions in urban roads	52

Table 4.8 Medium term (5-year) strategic investments in urban roads	53

Table 4.9 Immediate (2-year) interventions in shelter for IDPs and the urban poor	56

Table 4.10 Medium term (5-year) strategic investments in shelter for IDPs and the urban poor	58

Table 4.11 Immediate (2-year) interventions in small-scale municipal infrastructure 	60

Table 4.12: Medium term (5-year) strategic investments in local municipal infrastructures	60

Table 4.13 Immediate (2-year) interventions in urban planning	63

Table 4.14 Medium term (5-year) strategic investments in urban planning framework	63

This Infrastructure Cluster Report was prepared by a team led by Fabio Galli, Sr. Transport Specialist and John Riverson, Sr. Consultant – Transport and Infrastructure (World Bank), with contributions from a team of Somali and sectoral experts. The core team consisted of Abdulkadir Ali (Water Supply and Sanitation), Filep de Cortes (UN HABITAT – Urban) and Paula Pennanen (UN HABITAT – Urban), Rashed Gulai (Transport), and Sajjad Versi (Power and Energy), Musse Cabdullahi (Renewable Energy). The team visited Kenya and Somalia between January 2006 and May 2006, with short missions in April and May. Anil Bhandari, Lead Transport Specialist, (WB) joined in selected field visits and provided advice as needed. Mohamood Abdi Noor (WB – Productive Sectors and Environment), Yohan Svensson (Peace building), Ayoo Odicoh (Gender), Oumar Kane (Human Rights) provided comments on the draft paper applicable to other cross-cutting cluster themes. Lloyd McKay provided advice and guidance. The Team would like to thank all its counterparts for their excellent cooperation during the course of various missions. Technical information and documents from the European Commission in Nairobi, Gerry McCarthy, Joe Connolly, and ILO office in Geneva is gratefully acknowledged.

# FOREWARD

This draft cluster report is part of the technical work of the Somali Joint Needs Assessment and is being circulated in draft to seek comments and suggestions as part of a quality assurance review process.  It is stressed that at this stage all six draft cluster reports are technical assessments and should not be thought of as a final output of the Somali Joint Needs assessment.  Prioritization is a two-part consultative process, first technical and second political, and this draft cluster report is primarily concerned with technical prioritization.  Political prioritization will come in finalization of the integrated Reconstruction and Development Program (RDP).

To ensure the highest possible quality of this cluster report we look forward to your comments and suggestions, with specific reference to the accuracy of information, the within-cluster prioritization of needs, and the suitability and feasibility of proposed actions to address these needs.  To generate the best possible Reconstruction and Development Program it is important that Somali authorities and people, and developing partners, contribute to this review process.   Guidelines for this quality assurance review have been issued separately.

This draft cluster reports is the outcome of an exhaustive technical exercise involving extensive consultations with Somali stakeholders, ranging from civil society groups to national and local authorities and parliamentarians.  It has been produced by an integrated team of Somali and other technical experts drawing on information from (a) existing sources, (b) consultation workshops, (c) selected field visits and meetings with a wide array of Somali groups and individuals, and (d) questionnaire-based fieldwork undertaken by Somali experts in all regions, to review priority needs and develop reconstruction and development proposals to address those needs.  It responds to specific local needs by providing differentiated suggestions for South Central Somalia, Puntland and Somaliland.  Moreover, it reflects the importance of three key cross-cutting issues – peace-building and conflict prevention, capacity building and institution development, and human rights and gender – by addressing them as an integral part of the proposed initiatives to achieve desired reconstruction and development objectives.

The team is now focusing on reviewing the full array of priority needs and proposed suggestions from all six cluster reports to prepare an integrated Reconstruction and Development Program (RDP).  This RDP will present a proposed set of initiatives to address priority needs from among the wider set of needs.  Clearly, not all needs can be addressed immediately or within the five year time frame of this RDP.  Implementation capacity and likely resource availability will both be considered in developing RDP initiatives.   But behind all this is the fundamental objective of supporting Somalis in deepening peace and reducing poverty as quickly as possible in a sustainable way.

David S. Bassiouni                               			Lloyd McKay

UN Senior Technical Coordinator               		WB Senior Technical Coordinator

EXECUTIVE SUMMARY

### Objectives and Scope

1.	The objective of this Infrastructure Cluster (IC) report is to present an assessment of the current condition of infrastructure, the priority needs for reconstruction and improvement, and the practical requirements for achieving priority improvements and support its sustainable functioning.  The primary objective is to contribute to restoring the livelihoods of the people affected by years of conflict and to support the peace building efforts.  In doing so, inter alia, the Reconstruction and Development Program (RDP) will ensure the proper functioning of: (a) the productive sectors in restoring economic growth; (b) the social services towards improving social well-being and livelihoods of the people, both in the public and private sectors; and (c) contribute to peace building and reconciliation as stated in the Post Conflict Needs Assessment (PCNA) guidelines.  These factors, in turn, will contribute to the overall objectives of poverty reduction, progress towards achieving the Millennium Development Goals and peace building for Somalia.

2.	Prospects for infrastructure rehabilitation and development during the re-construction period will greatly depend on maintaining a peaceful political environment, law and order, sound economic and social policies, and the proper functioning of the facilities and services later.  Rehabilitation of infrastructure also provides opportunities for enhancing the dialogue and cooperation between communities, around improving common infrastructure assets, as part of peace building efforts.

3.	The Somali JNA Infrastructure Cluster report covers transport (roads, airports and seaports), power and energy, urban infrastructure including water supply, liquid and solid waste management and urban roads.  The report presents the current state of infrastructure in all parts of Somalia.

4.	Assessing the state of infrastructure in Somalia presented many challenges, including lack of up-to-date information, logistical constraints and insecurity especially in large parts of South Central (SC) Somalia.  Selected field visits by international members of the cluster team, interviews with regional officials, and consultation with civil society, extensive questionnaire-based field assessment work by Somali experts, and existing written reports yielded adequate information on the general state of infrastructure in Somalia.  The team obtained information on inter-urban and rural transport infrastructure, and urban infrastructure and services including water supply and sanitation and power/energy.  Local experts provided an indication of the priorities in SC Somalia but further refinements will naturally be required after more information during implementation.  This report presents the draft two-year and five-year infrastructure reconstruction and development plans.

Key Cluster Issues

5.	All infrastructure facilities have suffered from lack of maintenance and rehabilitation, war damage and vandalism, and years of neglect.  It will therefore be a priority during the first two years of the reconstruction and development program to get more comprehensive

data on the true state of the infrastructure, its institutional functions, as well as needs, design and costs together with its implementation modalities.

6.	While the civil war has had a devastating effect on infrastructure in all regions, Somaliland and Puntland have made some recovery as a result of the relative peace and stability.  Somaliland and Puntland have both made some progress in putting in place legislation and institutions to manage some of their infrastructure.  The transport sector institutions have benefited from support under the Sub-Saharan Africa Transport Program (SSATP) and donor financed projects.  Both regions, however, are still seeking to establish full institutional capacities for planning, implementing and maintaining a viable infrastructure reconstruction and development program.   Also important to Somalia for the proper functioning of its infrastructure, especially transport, and to some extent, power generation, is the need to link policies and regulations to those of recognized international and Africa regional associations.

7.	In assessing the needs and recommending a way forward, due note has been taken of the thriving private sector, which during the times of conflict and lack of government control, regulation and enforcement, has partially filled the gap.  For example, the private sector has been involved in: (a) management of various infrastructure facilities such as roads, airports/airstrips, urban infrastructure including water supply and sanitation, power generation and supply; and (b) services related to infrastructure sectors such as road and air transport, shipping, fishing, power and water distribution and provision of sanitation services in towns.

8.	The infrastructure related issues facing Somaliland and Puntland, clearly differ from those of SC Somalia.  In the case of Somaliland and Puntland they are in a better position to consolidate peace, development and growth.  In contrast, in SC Somalia, the priority concerns of local representatives are for the re-establishment of peace through increased security and law and order.  This is borne out by the completed questionnaire returns from central and southern regions, which show the following critical constraints that need attention such as: (a) Security and Law and Order; (b) lack of proper institutions; (c) lack of technical and professional expertise; (d) poor road condition, coupled with insufficient transport services and facilities; and (v) very high levels of unemployment or under-employment.

9.	We highlight also that all infrastructure sectors covered in this report have specific linkages to some or all of the other JNA clusters, and between the various infrastructure sub clusters.  The report discusses and takes into account crosscutting themes that apply to this cluster.  Relevant crosscutting themes include, but are not limited to the following topics:

- Implementation of infrastructure projects, vis-à-vis other cluster interventions.  This relates to: (a)  how to sequence cluster priority actions such as ensuring improved governance and expedited actions towards maintaining peace, law and order; and (b) arrangements for overall program management, coordination and monitoring within Somalia, and coordination between national and international partners engaged in the JNA program financing and implementation, etc.

- Environment and social safeguards framework and monitoring arrangements established.  These in turn relate to natural resources management and other aspects covered under the productive services sector;

- Selection of priorities to enhance the overall objectives of the productive sectors and contribute to economic growth and poverty reduction for achieving the MDGs for Somalia.

- Gender mainstreaming in infrastructure and its relationship to gender issues overall;

- Major risks mitigation such as mine risk management that need to precede infrastructure program implementation; and

- Arrangements for addressing the external inter-regional linkages and trade that may transcend specific individual Somali regional needs, for example, Berbera – Addis Ababa Corridor development.

10.	Infrastructure related de-mining activities.  One critical issue of concern to infrastructure works relates to landmines.  The landmine is a critical human rights issue that needs to be addressed, as it threatens the lives of innocent people and impedes the freedom of movement of civilians.  Most of the road, airport, port and major power rehabilitation work will require initial mine clearing operations.  In this context, it will also be essential to establish, in consultation with the various local stakeholders, the location of landmines and unexploded ordinances (Axis), and develop a clear strategy and plan for minimizing the potential dangers posed by them.  Actions in this regard will require collaboration of organizations such as the Halo Trust and DDG who have established presence in the region.

Key Reconstruction and Development Objectives

11.	Short-Term (2-years).  Short term infrastructure reconstruction and development priority actions aim at addressing the most urgent post-conflict needs of Somalia.  At the same time, it will put in place practical and cost effective reconstruction programs for the different infrastructure sub sectors that consider poverty reduction goals, regional and gender equity and available implementation capacity.  More specifically, the proposals will include a two-year plan to: (a) reconstruct essential infrastructure including feeder roads, power generating and distribution systems; (b) renewable energy development and promotion; (c) urban infrastructure and services including water supply and sanitation (waste management), housing and support to internally displaced peoples (IDPs), roads and bridges; (d) carry out studies and participatory workshops to determine the institutional requirements for various infrastructure and initiate actions to increase absorptive capacity, as well as the regulatory requirements for the functioning of various infrastructure; and (e) create employment for the population through labor-based works using approaches such as community contracting.  These activities should bring much needed cash to impoverished communities, increase economic activities, improve absorptive capacities and contribute to peace building.

12.	Medium term (3-5 years).  The objective would be to build on the community level interventions and consolidate gains, complete feasibility and engineering designs and contract documentation and implement major infrastructure rehabilitation and reconstruction work, along with institutional development and capacity building.  The following sequencing of activities could follow in the medium term reconstruction phase:

- Continue community level interventions to improve feeder roads and other infrastructure;

- Select projects for implementation based on techno-economic feasibility studies, regional equity, funding, as well as address issues important for security and peace building.

- Carry out feasibility studies, engineering designs, and procurement procedures, and plan and implement de-mining activities for road and other large infrastructure investments;

- Start or continue implementation of works on major national and inter-regional roads and other infrastructure, which are awarded for implementation;

- Carry out and complete studies to identify key regulations and institutional framework needed for the proper functioning of infrastructure and related services and take actions to ensure effective enforcement of regulations alongside balanced development;

- Implement training and capacity building for staff in public sector institutions identified for training;

- Identify and categorize capabilities of nationally owned private consulting firms and contracting companies and implement program of training and capacity building; and

- Prepare and implement a national strategy for development, maintenance and financing of critical infrastructure.

Institutional Strengthening Action Plan

13.	Leaving aside security, limited institutional and human capacity will be a major constraint to prepare and implement the infrastructure recovery and development plans.  This has implications for all sub-clusters to varying degrees, and for the public and private sector institutions and workers.  The Governance, Security and Rule of Law Cluster report discusses the principles of public sector management and accountability, the important role that NGOs and the private sector will be required to play in service delivery, as well as that of public private partnerships in development.  The ability to address the capacity constraints depends in part on how firmly the public sector institutional arrangements/framework have been set in place, and how clearly the expected public sector objectives and institutional responsibilities have been laid out.  For transport infrastructure, for example, the experience to date has been outlined in paragraph 6 above, and other sections of the cluster report, along with similar provisions for capacity building for the other sub-clusters.  Program budget provisions have been made in the costing for capacity building and training.  In this connection, four major areas of focus are proposed for implementation as part of the ISAP for Infrastructure:

- Extensive consultation process with key stakeholder participation to define a lean and viable institutional framework, setting out the public/private sector institutional objectives, functions, structures and roles, as well as human resource needs;

- For each of the proposed areas of investment (e.g., community contracting, labor-based EIIP, food-for work, etc.) carry out an in-built program and process of capacity building and training (on-the-job or specialist training for public sector staff/work-force and local private contractors, consulting firms and selected individuals) for the persons involved and managed through a framework agreement with international agencies or consulting firms;

- Recruit/mobilize interested qualified and experienced Somali expatriates of appropriate professional and technical skills to help restore some of the institutional capacity to manage infrastructure development, train others and support management and implementation of the program

- Recruit/hire private International consultants – individuals and firms/NGOs as independent TA to carry out various assignments, or as in-line staff of public institutions charged with responsibility for managing and implementing the programs.  This arrangement could also involve twinning arrangements involving interested infrastructure agencies from countries abroad.

14.	The first set of actions involving a consultative process to develop institutional frameworks could be implemented during a period of preparation before the start of the 2-year short-term program, depending on the availability of preparatory funds.  The aim will be to establish the framework and capacity building needs for implementation, and finalize the same during the short-term program implementation period as needed.

### Proposed Sub-Cluster Programs

# 15.	In line with the broad objectives and principles set above, the infrastructure cluster interventions have been prepared, as summarized in the attached Results Matrix, showing the intended outcomes, baseline situation, constraints to achieving the outcomes by the end of the 5-year medium-term period now set for 2011, as well as the key actions and intermediate outcomes.  In addition, the arrangements for monitoring the results are also attached to this report in separate Monitoring Matrix.  The next section presents the status and context, institutional framework and expected outcomes for each sub cluster, viz. Transport – Roads, Airports and Ports; Power and Energy, and Urban Infrastructure.

# TRANSPORT INFRASTRUCTURE

Status and context

16.	Road and bridges.  The total road network is approximately 22000 km.  Only about 15% of 2600 km of primary roads can be considered to be in good condition.  The rest of the network is in poor to very poor condition.  In addition, less than 10% of 19200 km of secondary & rural/feeder road network are in good condition.  The balance is in poor to very poor condition.  Road transport continues to be the principal mode of internal transport due to a lack of railway infrastructure and limited coastal shipping.  However, the provision of transport services, although there are reported increases in heavy trucks in parts of Somalia, has declined steadily due to limited investment, aging equipment and prevailing insecurity.  Animal transport--camels and donkeys— continue as the most important means of transport for many people.

18.	Air transport/civil aviation.  There is one fully functioning international airport (Hargeisa).  In addition, there are three existing but not fully functioning international airports (Mogadishu, Kismayo, Berbera),   There also three functioning major domestic and regional airports (Bosasso, Galkaio, Baidoa, Jowhar), and over 50 domestic airstrips providing limited passenger and freight services.

19.	Ports and shipping.  Somalia has the longest coastline of about 3,300 km.  It has two functioning major ports (Bosasso, Berbera), two non-functioning major ports (Mogadishu, Kismayo), and two functioning minor ports (Merca, Las Qorey).  There also over ten minor ports operating on an informal basis.

Institutional and Legal framework

20.	Up until 1991, the Ministry of Public Works and Housing (MPWH), through its Directorate of Highways (formerly Civil Engineering Department), was responsible for planning, constructing and maintaining roads throughout Somalia.  The Ministry of Land and Air Transport (MLAT) was responsible for vehicle registration and Ministry of National Planning (MNP) responsible for general planning of the sector and for monitoring project implementation.  By 1988, Government of Somalia (GOS) introduced major innovations in the management of road maintenance.  MPWH also established a Road Maintenance Fund (RMF), which generated revenues through a motor fuel tax.  It is noteworthy that Somaliland and Puntland, with support from the European Union (EU), have more recently adopted the institutional models promoted under the Road Maintenance Initiative (RMI) of the SSATP.

21.	At present, the Transitional Federal Government (TFG) has established a Ministry of Transport (MOT) that has limited capacity.  Furthermore, the institutional and legal framework under which it functions is still not fully defined, taking into account the historical and more recent developments in the transport sector.  This issue will require work and fine tuning to arrive at an effective and efficient institutional model(s) to manage the road transport sector.  This will require consultations with the various stakeholders participating in the proposed program.

Summary of Planned Outputs, Outcomes and Costs.

22.	The following are the planned outputs for roads infrastructure:

- Improve the primary roads connecting major urban centers (Kismayo, Mogadishu, Garowe, Hargeisa, Bosasso, Berbera) (about $150 million);

- Improve basic accessibility to major productive centers such as farming communities, livestock hubs and fish processing centers (about $50 million);

- Improve basic airport and air navigation infrastructure throughout country (about $50 million); and

- Improve basic port infrastructure and shipping services throughout country (about $50 million)

POWER AND ENERGY

Status and context

23.	Somalia primarily uses charcoal and firewood as the main source of domestic energy.  It is estimated that 87% of the country’s energy consumption is using biomass fuel.  Petroleum products account for about 11% of the total energy use, while electric power generation using diesel fuel, account for about 2% of the total energy use.  Electric power is probably the next highest source of energy and is used mainly for the residential, commercial and industrial sectors.  Electric power, using diesel generators, is used to run most of the borehole pumps in the rural areas and supplies up to 40% of the urban areas.  Firewood and charcoal provide the rest of energy in the urban areas too.

24.	Most of the electric generation plants in urban and rural areas are owned and run by private enterprises or NGOs.  In most instances, privately owned and operated generators supply electricity on a commercial basis.  For some private generators, the primary objective is to supply their own premises (telephone companies, hotels, small industry, etc.) and the spare capacity is sold over a very rudimentary isolated network to supply the consumers in the locality.

25.	Other potential sources of energy in Somalia are solar, wind, coal and hydroelectricity.  These are mostly untapped.  Work was about to start on a major hydroelectric scheme at Bardhere.  However, its construction came to a halt in 1989.  The former government had a special ministry set up for the development of the Juba River, and any future action would need to consider the body of knowledge available.  The development of renewable energies to lessen the amount of charcoal consumed in Somalia will be critical.  However, its development will take time and will be capital intensive.

Institutional and Legal framework

26.	The TFG, Somaliland and Puntland have Energy directorates/authorities. They form the focal point for data collection and policy setting and need empowerment to implement the policies.  Government Electricity Supply agencies/authorities operate in regional centers of Somaliland and Puntland.  These agencies, in most instances, operate existing publicly owned power plants and/or distribution networks.  Table 1 is the list of known public companies in various zones with a description of its status in the zonal government.  Puntland Electric Energy Authority, which owns the Bosasso, Ghardo and Garowe power stations, has recently signed up a private enterprise to manage the power stations and distribution network.  The terms of the agreement are yet to be finalized and implemented.

27.	While private companies can provide electricity at the local level, there is no legal framework, and even the authority of the local government Agencies is weak to enforce basic standards or safety criteria.  The electricity supply business is usually managed in consultation with the local community leaders.  In this context, Somali authorities should ensure that the privatization of basic social services such as power does not compromise general access to all segments of society, availability and quality.

Summary of Planned Outputs, Outcomes and Costs.

28.	The following are the planned outputs, outcomes and costs for power and energy  infrastructure and services:

- Extend the 15kV backbone three phase overhead line (about 285 km, $1.4 million);

- Extend the 380/220 volts, 3-phase, 4-wire, overhead back bone line (1134 km, $9.0 million);

- Install additional 15kV/380V, Distribution Transformers.(about 313 nos., $2.4 million);

- Interconnect power grids of Mogadishu, Jowhar and Fenola (about $11million);

- Implement broad rural electrification program in areas of high agricultural, pastoral and fishing potential (about $10 million);

- Install additional generation capacity throughout country (about 119MW - $120 million);

- Re-commission the Fenola Power Plant (about $2 million);

- Commence the construction of Bardhere Hydroelectric Scheme (about $3 million);

- Introduction of LPG Gas and Kerosene (details on cost Linked to Productive Sector for Costs);

- Developed renewable energy sources (about $10 million);

- Training and skills development (about $6.3 million);

- Establishment of the Planning Team (about $1.6 million);

- Establishment of Regulatory Body for Public Private Partnership (about $0.4 million);

- Establishment of Electrical Installation Inspectorate (EII) (about $0.8 million); and

- Realignment of Regulatory Body and reinforcement of the Inspectorate (about $1.0 million).

URBAN INFRASTRUCTURE

Status and context

29.	Urban infrastructure in all Somali towns requires major investment due to more than 15 years of neglect and rapid urbanization.  Urban infrastructure has deteriorated the most in the urban areas of SC Somalia, where the continuing conflict, lack of maintenance and looting of urban infrastructure have hindered reconstruction initiatives.  In contrast, basic rehabilitation and development of infrastructure have taken place in relatively stable Somaliland and Puntland. Improvements in urban service sector (water, energy, waste management, roads and housing) have been carried out through small-scale community or private sector led local initiatives or international aid programs.  Somaliland and Puntland are therefore at the stage for infrastructure development, whilst South/Central Somalia is in an early stage of rehabilitation.

30.	As direct result of the civil war, the rate of urbanization has increased considerably over the last 15 years.  Prior to the civil war, Somalia was predominantly a country of nomads with very small urban centers.  Apart from Mogadishu and Kismayo, towns generally had populations of tens of thousands or less.  Driven by the continuing internal strife in large parts of the country as well as natural disasters, the urban population in major Somali towns has increased 300-500%, on average, during the last 15 years.

31.	The rapid urbanization has put enormous pressure on a very limited urban infrastructure stock.  The urbanization process has been haphazard, with little spatial planning and urban management.  Whilst the centers of the main settlements and some of the new villages are relatively structured in terms of lay-out from pre-civil war planning attempts, much of the urban space, including vacant space within the formal urban fabric, holds pockets of ‘nomadic’ tents (‘buuls’) belonging to displaced communities or recent arrivals.  For example, in Bosasso one out of six structures is informal.  In some areas, land has mostly been grabbed by individuals belonging to (sub-) clans that control specific areas.  An active but unregulated land market conflicts with old and recent draft laws, whereby an individual can be granted a plot for his personal use only.

32.	Partly destroyed, inadequate and poorly maintained urban infrastructure has contributed to a sharp deterioration of living standards in urban areas.  An estimated 43% of the urban population lives in extreme poverty with 61% living on less than US$2 a day. Unemployment and under-employment is a major problem, which is estimated over 80%, and over 90% in some cities.  This may reflect seasonal and serious under-employment; while the urban unemployment in general is estimated at around 60%. Extreme poverty conditions also pose daily health risks.

33.	Clean water is one of the most critical resources in all urban areas in Somaliland, Puntland and SC Somalia, especially for the vulnerable groups (IDPs, urban poor, women headed households, etc.).  The latest estimates suggest that less than 30% of the total population in Somalia has access to a clean, sustainable water source, and even fewer has access to basic sanitation facilities.  Besides causing serious health risks, the shortage of clean water can block progress towards general economic recovery, if not adequately addressed.  Indeed, the right to water requires that everyone has access to “ sufficient and safe water for personal and domestic use” to prevent disease.  (WHO recommends 50 liters per person and per day). In this context, regulatory mechanisms and assistance measures must be put in place for the state to discharge its obligations.

34.	Urban water infrastructure is one of the worst affected, with majority of water supply systems in need of urgent rehabilitation and only serve a minority of the population.  Most water supply infrastructure either are damaged or has been poorly maintained during and after the conflict.  The continuing conflicts in various locations and lack of a functional central government have resulted in chronic under-investment in urban water infrastructure, institutions and policies.  Only in the relatively more stable areas, such as Somaliland and Puntland, basic investments have been made to improve the water supply, mainly by the international community.  These investments have not even come close to being able to provide the rapidly growing urban population with piped or other adequate water supply.

Institutional and legal framework

35.	Municipal institutions and management systems have inadequate capacity in Somaliland and Puntland and are largely absent in SC Somalia.  However, in the absence of clear governmental structures, central and local authorities, the private sector and community groups have taken up responsibilities on ad hoc basis.  After the collapse of the central government, privatization of municipal services occurred mostly without governmental regulation, resulting in inequitable pricing and spatial monopolies in the provision of urban services.  Private entrepreneurs without a regulatory framework dominate most basic services with negative effects on urban poor.  In order to engage the private sector as a key partner in the redevelopment process, private entrepreneurs will require a more stable environment for long-term business development and regulative framework from public bodies.

36.	Somaliland and Puntland, now regulate the basis for local taxation, the roles and responsibilities of local government and the management of land (e.g., Regions and Districts Law 23/2002 and Land Management Law 74/2003 in Somaliland).  The city Charters for Hargeisa and Garowe are currently in the respective Parliaments of Somaliland and Puntland for approval.  They may lead to basis for long-term urban management systems.  JNA Governance Cluster report discusses urban legal framework in more detail.

37.	Another institutional constraint in the urban sector is the inability by local governments to raise adequate tax revenues to fund even a small part of the investments required to rehabilitate and develop urban infrastructure.  The weak tax base together with need for transparent municipal finance systems add to the challenge of reconstruction and development of critical urban infrastructure.  Budgetary or any other support from the central administration to local authorities hardly exists.

Strong role of non-governmental entities in urban sector development

38.	Emerging state and municipal level authorities, especially in Somaliland and Puntland, provide the basis for development of urban infrastructure management and for a more effective environment for infrastructure investments.  However, the institutional set-up process is slow.  For fast delivery of priority infrastructure projects (within 2-5 years) and durable, self-sustained infrastructure systems, the role of the private sector has to be enhanced and harnessed.  In the same time, public authorities should design policies aiming to fulfill the right to housing for disadvantaged groups in putting in place housing credit accessible especially to women, returnees etc..

39.	Somali urban communities possess a relatively strong private sector and civil society. However, the line between the private sector and key decisions makers is sometimes blurred and often functions along ‘clan’ divisions.  Active role and interest of the private sector, CSOs and local communities in participating in urban development is critical in securing the sustainability of external investments.  Private water companies have, for instance, performed relatively well in several cities with limited public involvement and funding. The private sector has also initiated housing projects for the Diaspora in Puntland and Somaliland. Local community and citizen groups support several urban infrastructure services, such as markets, sanitation and crosscutting sectors (income generation, women’s empowerment).  These represent a resource for urban development planning that can mobilize through participatory urban planning processes.

40.	The five-year development target in the urban sector is thus to establish varying models for PPPs’ and non-governmental actors’ involvement in different levels of infrastructure development and basic service delivery (water supply, energy, transport, housing, solid waste management, urban planning).  The municipal authorities take lead in the development of solid policy framework, service quality control and service development planning.  Policies set, inter alia, would aim to fulfill the right to housing for disadvantaged groups as well instituting housing credit accessible especially to women, returnees, etc.

Summary of Planned Outputs, Outcomes and Costs

41.	The following are the planned outputs, outcomes and costs for urban infrastructure and services including water supply and sanitation services:

- Sustainable access to clean water for at least 30 % urban population in selected major cities through improved water sector management, private sector participation and infrastructure rehabilitation/development (about $31.0 million);

- Development of safe and environmentally sound solid & liquid waste collection & disposal systems for 50 % of urban population in selected cities (about $104 million);

- Waste management policies developed at central and municipal government levels (about $104 million);

- Accessibility to all parts of urban areas and travel times within urban areas improved to enhance local economic potentials (about $44 million);

- Standard of living and reintegration of IDPs to the local communities improved in existing and new settlements in selected cities, with 7000 permanent shelters constructed for IDPs and the urban poor (abut $72 million);

- Urban local environment improved in selected cities resulting in improved quality of life and governance in cities (improved livelihoods and basic services, especially health and sanitation) (about $9 million); and

- Development of cross-sector urban planning system in major urban centers to guide long-term development of Somali cities (about $4 million)

Somali Joint Needs Assessment (JNA)

INFRASTRUCTURE CLUSTER

I.	Introduction

### Objectives and Scope

1.	The objective of this Infrastructure Cluster (IC) report of the Somali Joint Needs Assessment (JNA) is to present an assessment of the current condition of infrastructure facilities, the priority needs for improvement and the practical requirements for achieving priority improvements and support its sustainable functioning. The primary consideration for this objective is the need to contribute to restoring the livelihoods of the people affected by years of conflict and to support the peace building efforts. In doing so, inter alia, the Reconstruction and Development Program (RDP) will ensure the proper functioning of: (a) the productive sectors in restoring economic growth; (b) the social services towards improving social well-being and livelihoods of the people, both in the public and private sectors; and (c) contribute to peace building and reconciliation as stated in the Post Conflict Needs Assessment (PCNA) guidelines. These factors, in turn, will contribute to the overall objectives of poverty reduction, progress towards the Millennium Development Goals and peace building for Somalia.

2.	Prospects for infrastructure restoration and development will greatly depend on maintaining a peaceful political environment, law and order, sound economic and social policies, during the re-construction period, and the later proper functioning of the facilities and services provided. Rehabilitation of infrastructure also provides opportunities for enhancing the dialogue and cooperation between communities, around improving common infrastructure assets, as part of peace building efforts.

3.	The Somali JNA Infrastructure Cluster report covers transport (roads, airports and seaports), power and energy, urban infrastructure including water supply and liquid and solid waste management and urban roads. The report presents the current state of infrastructure in all parts of Somalia, consultations with various stakeholders, and other sources as detailed below.

4.	Assessing the state of infrastructure in Somalia has presented many challenges, including lack of up-to-date records and studies, logistical constraints and insecurity especially in large parts of South Central (SC) Somalia. However, selected field visits by international members of the cluster team, interviews with regional officials, and consultation with civil society, extensive questionnaire-based field assessment work by Somali experts, and existing written reports have yielded adequate information on the general state of infrastructure in Somalia. The team obtained information on inter-urban and rural transport infrastructure, as well as urban infrastructure and services, including water supply and sanitation and power/energy. Local engineers and JNA Somali local experts have provided an indication of the priorities in SC Somalia but further refinements will naturally be required during implementation as more information comes in. The information provides an initial basis for draft two-year and five-year infrastructure reconstruction and development plans, albeit, with gaps to fill over time.

Key Cluster Issues

5.	All infrastructure facilities have suffered from lack of maintenance and rehabilitation, war damage and vandalism, and years of neglect. There are limited inventories and condition records. It will therefore be a priority during the first two years of the reconstruction and development program to refine data on the true state of the infrastructure, its institutional functions, as well as needs, design and costs together with its implementation modalities.

6.	Somalia has not had a functioning central government for the last 15 years, and hence has had no stable and functioning central and/or local government to manage the country’s infrastructure. It is noteworthy, that while the civil war has had a devastating effect on infrastructure in all regions of Somalia, some parts of Somalia, namely, Somaliland and Puntland have made some recovery as a result, inter alia, of the relative peace and stability. Both regions have made progress in putting in place legislation and institutions to manage some of their infrastructure. In these areas, the transport sector institutions have benefited from support under the Sub-Saharan Africa Transport Policy Program (SSATP) and donor financed projects. Both regions, however, are still seeking to establish full institutional capacities for planning, implementing and maintaining a viable infrastructure reconstruction and development program.  Also important to Somalia for the proper functioning of its infrastructure, especially transport and to some extent, power generation, is the need to link policies and regulations to those of recognized international and Africa regional associations, such as Common Market for Eastern and Southern Africa (COMESA), and the framework of the New Partnership for Africa’s Development (NEPAD).

7.	In assessing the needs and recommending a way forward, due note is taken of the thriving private sector which during the times of conflict and lack of government control, regulation and enforcement has tried to fill the gap. For example, the private sector has been involved in: (a) management of various infrastructure facilities such as roads, airports/airstrips, urban infrastructure including water supply and sanitation, power generation and supply; and (b) services related to infrastructure sectors such as road and air transport, shipping, fishing, power and water distribution and provision of sanitation services in town.

8.	The infrastructure related issues facing Somaliland and Puntland, clearly differ from those of SC Somalia. In this context, it appears that Somaliland and Puntland seem to be in a better position to consolidate peace, development and growth. In contrast, in SC Somalia, it appears that the priority concerns of local representatives are for the re-establishment of peace through increased security and law and order. This is borne out by the completed questionnaire returns from central and southern regions, which show the following critical constraints that need attention such as: (a) Security and Law and Order; (b) lack of proper institutions; (c) lack of technical and professional expertise; (d) poor road condition, coupled with insufficient transport services and facilities; and (v) very high levels of unemployment or under-employment.

9.	Lastly, it is noted that all infrastructure covered in this report have specific linkages to some or all of the other JNA clusters, and between the various infrastructure sub clusters. The report discusses crosscutting themes that apply to this cluster throughout the report, as well as separately in Chapter V, with the aim of highlighting and ensuring effective coordination between clusters in the planning and implementation of all activities.

10.	Infrastructure related de-mining activities. One critical issue of concern to infrastructure works relates to landmines. Landmines affect every region of Somalia. In 2000, landmines killed 158 people and injured nearly 237 people. Landmines were laid in Somalia, first along the borders between Somalia and Ethiopia, during the 1964 border skirmishes and later during the 1977 conflicts. The most damaging and deadly landmines, however, were laid during the former Somali army’s struggle to suppress resistance movements in Northern Somalia. Additional landmine planting occurred during the prolonged civil war in South-Central Somalia, especially on roads between major cities such the Mogadishu to Baidoa road and around major population centers such as Hudur, Belet Uen, Kismayo and Bardhere. United Nations and other international groups such as Danish De-mining Group (DDG), SBF and Halo Trust have spearheaded several successful interventions that included surveying and mapping minefields, de-mining operations and building sustainable local capacities. The landmine is a critical human rights issue that needs to be addressed, as it threatens the lives of innocent people and impedes the freedom of movement of civilians. Most of the road, airport, port and major power rehabilitation work will require initial mine clearing operations. In this context, it will also be essential to establish, in consultation with the various local stakeholders, the location of landmines and unexploded ordinances (Axis), and develop a clear strategy and plan for minimizing the potential dangers posed by them. Actions in this regard will require collaboration of organizations such as the Halo Trust and DDG who have established presence in the region.

Key Reconstruction and Development Objectives

11.	The JNA’s short-term (2-year) infrastructure reconstruction and development priority actions aim at addressing the most urgent post-conflict needs of Somalia. At the same time, it needs to put in place practical and cost effective reconstruction programs for the different infrastructure sub sectors that consider poverty reduction goals in line with the Millennium Development Goals, regional and gender equity and available implementation capacity. More specifically, the proposals will include a two-year plan to: (a) reconstruct essential infrastructure including feeder roads, power generating and distribution systems; (b) renewable energy development and promotion; (c) urban infrastructure and services including water supply and sanitation (waste management), housing and support to internally displaced peoples (IDPs), roads and bridges; (d) carry out study of the institutional requirements for various infrastructure and initiate actions to increase absorptive capacity, as well as the regulatory requirements for the functioning of various infrastructure; and (e) create employment for the population through labor-based works using approaches such as community contracting, with food for work where required, in places where the labor force live. These actions should bring much needed cash to impoverished communities, increase economic activities, improve absorptive capacities and contribute to peace building. As part of the overall preparation for infrastructure reconstruction, it will also be essential to establish, in consultation with the various local stakeholders, the location of landmines and unexploded ordinances (Axis), and develop a clear strategy and plan for minimizing the potential dangers posed by them.

12.	In the medium term, the objective would be to build on the community level interventions and consolidate gains, complete feasibility and engineering designs and contract documentation and implement major infrastructure rehabilitation and reconstruction work, along with institutional development and capacity building. For example, in the road sub-sector, the priorities include actions to re-establish regional interconnectivity with countries such as Ethiopia, Kenya and Djibouti, and between the various regions within Somalia with the aim at supporting efforts towards peace and reconciliation and regional linkage. The following sequencing of activities could follow in the medium term reconstruction phase:

- Continue community level interventions to improve feeder roads and other infrastructure;

- Select projects for implementation based on techno-economic feasibility studies, regional equity, funding, as well as address issues important for security and peace building.

- Carry out feasibility studies, engineering designs, and procurement procedures, and plan and implement de-mining activities for road and other large infrastructure investments;

- Start or continue implementation of works on major national and inter-regional roads and other infrastructure, which are awarded for implementation;

- Carry out and complete studies to identify key regulations and institutional framework needed for the proper functioning of infrastructure and related services and take actions to ensure effective enforcement of regulations alongside balanced development;

- Implement training and capacity building for staff in public sector institutions identified for training;

- Identify and categorize capabilities of nationally owned private consulting firms and contracting companies and implement program of training and capacity building; and

- Prepare and implement a national strategy for development, maintenance and financing of critical infrastructure.

Institutional Strengthening Action Plan

13.	Leaving aside security, limited institutional and human capacity will be a major constraint to prepare and implement the infrastructure recovery and development plans. This has implications for all sub-clusters to varying degrees, and for the public and private sector institutions and workers. The Governance, Security and Rule of Law Cluster report discusses the principles of public sector management and accountability, the important role that NGOs and the private sector will be required to play in service delivery, as well as that of public private partnerships in development. The ability to address the capacity constraints depends in part on how firmly the public sector institutional arrangements/framework have been set in place, and how clearly the expected public sector objectives and institutional responsibilities have been laid out. For transport infrastructure, for example, the experience to date has been outlined in paragraph 6 above, and other sections of the cluster report, along with similar provisions for capacity building for the other sub-clusters. Program budget provisions have been made in the costing for capacity building and training. In this connection, four major areas of focus are proposed for implementation as part of the ISAP for Infrastructure:

- Extensive consultation process with key stakeholder participation to define a lean and viable institutional framework, setting out the public/private sector institutional objectives, functions, structures and roles, as well as human resource needs;

- For each of the proposed areas of investment (e.g., community contracting, labor-based EIIP, food-for work, etc.) carry out an in-built program and process of capacity building and training (on-the-job or specialist training for public sector staff/work-force and local private contractors, consulting firms and selected individuals) for the persons involved and managed through a framework agreement with international agencies or consulting firms;

- Recruit/mobilize interested qualified and experienced Somali expatriates of appropriate professional and technical skills to help restore some of the institutional capacity to manage infrastructure development, train others and support management and implementation of the program

- Recruit/hire private International consultants – individuals and firms/NGOs as independent TA to carry out various assignments, or as in-line staff of public institutions charged with responsibility for managing and implementing the programs. This arrangement could also involve twinning arrangements involving interested infrastructure agencies from countries abroad.

14.	The first set of actions could be implemented, of necessity and depending on the resource availability, during a period of preparation before the start of the 2-year short-term program to establish the needs for implementation or during the short-term period.

### Structure of Report

15.	Following this General Introduction, the report covers, in order, the key infrastructure sub clusters assessed by the JNA, viz., Transport, Power and Energy, and Urban Infrastructure. For each sub cluster, the report discusses status and context, institutional and legal framework, identification of needs, issues and opportunities, and cost of reconstruction and development priorities broken down into short-term (2 years) and medium term (5 years) priorities. The estimated reconstruction and development costs are for various regions, which are then presented as one set of tables at the end of each sub cluster section report as appropriate. Chapter VI presents the Results Matrix of the summary of key initiatives and outcomes, (Baseline, 2-years, 5-years), with timeline and estimated costs for achieving agreed priority outcomes; and Chapter VII presents a Matrix summarizing proposed implementation and monitoring arrangements, which chapter will need to be coordinated with the other clusters of the JNA. The Annexes include specialized reports, road maps, and specific regional reports not fully reflected in the main report.

16.	The approach adopted for the assessment is to treat the issues as they apply to Somalia as a whole, while recognizing and highlighting the unique and diverse social-economic, demographic and environment characteristics of the different parts of the country -- Somaliland, Puntland, and SC Somalia. The approach derives from the inter-regional characteristics of some sub cluster facilities such as transport and power distribution, which would often require planning and coordination on a national basis. Out of necessity, power supply and the infrastructure aspects covered under urban infrastructure such as water supply and sanitation and urban services, in general, are of localized nature to each region, and therefore would be of specific interest to the various regional and local administrations. Essential to all this, is the setting up of common policy frameworks under the TFG as reflected in the various regional governments or administrations.

# II.	TRANSPORT INFRASTRUCTURE

### Introduction

17.	At present, the transport infrastructure of Somalia comprises of about 22,000 km of roads, four major ports, and fifteen major airfields, four of which have paved runways. There are no railways, pipelines or inland waterways. Since the late 1980s, there has been no major investment in the development of transport infrastructure and very limited maintenance of the existing transport infrastructure. This has meant that the capital stock of infrastructure that Somalia had in the late 1980s is largely depleted. Road transport continues to be the principal mode of internal transport due to a lack of railway infrastructure and limited coastal shipping. However, the provision of transport services, although there are reported increases in heavy trucks in parts of Somalia, has declined steadily due to limited investment, aging equipment and prevailing insecurity. Animal transport--camels and donkeys— continue as the most important means of transport for many people. The former usually move over long distances (with an average load of 100 kg over an average distance of 30 km per day). The latter typically carry small loads within urban areas and around them.

18.	With insecurity, and a deteriorating road network, air transport has continued to play an important role. However, despite the coastline of about 3,300 km, coastal shipping has had limited development, although it has much potential. In recent times, piracy has held back the development of coastal shipping.

(A)	Roads and Bridges

Status and context

19.	By 1990, the country's road network totaled about 21,830 km  and consisted of the following road classification: (a) primary; (b) secondary and; (c) rural/feeder roads. The primary road network, which was largely paved, served major population centers like Kismayo, Mogadishu, Hargeisa, Berbera, as well as Garowe and Bosasso. The secondary road network connects settlements of local significance to one another and to the primary road network, and is predominantly earth roads or tracks. Rural/feeder roads were mostly low volume earth roads, which served, as access to the primary and secondary road systems and no reliable inventory exists covering these roads. A breakdown for the 21,830 km network is in Table 2.1 below.

Table 2.1: Road Network by Administrative Classification and Surface Type

|  | Primary Roads | Secondary Roads | Rural/Feeder Roads | All Roads | Percentage |
| --- | --- | --- | --- | --- | --- |
|  | Km |  |  |  |  |
| Paved: | 2,339 | 418 | -- | 2,757 | 12.6 |
| Gravel: | -- | 844 | -- | 844 | 3.9 |
| Earth: | 220 | 3,588 | 14,421 | 18,229 | 83.5 |
| TOTAL: | 2,559 | 4,850 | 14,421 | 21,830 | 100.0 |

SOURCE: Directorate of Highways, Ministry of Public Works and Housing (1989)

20.	The extent of the primary and secondary road network in 1990 was barely adequate to meet the transport needs of the economy. Despite considerable investments in the road sector in the 1980s, the standards and condition of the road network remained unsatisfactory in many parts of the country. Some of the more productive regions did not have all-weather roads crossing them, and this in part, greatly hindered the access to markets for farmers’ products in Middle Juba from Jilib, over Bu’aale to Saakow and continuously along the Juba River to Bardhere in Gedo region.

21.	During the 1980s, the paved road network increased from about 2,460 km in 1981 to 2,757 km in 1989. However, during the last fifteen years, the condition and quality of the road network has deteriorated sharply due to a lack of investment and maintenance. Today, only about 600 km of roads are still paved and in a reasonably good condition. In general, paved roads that where constructed on the predominantly good, well-drained soils of central and northern Somalia have remained in a satisfactory condition, whereas roads in the valleys of the Shebelli and Juba rivers where soil conditions are difficult are generally in poor condition. Of note, the road between Bosasso and Garowe (about 400 km), completed in 1989, and remains in relatively good condition, albeit in part, because of the relatively low traffic volumes.

22.	Historically, the north-south link, a paved two-lane road, between Mogadishu and Berbera on the Gulf of Aden, via Belet Uen, Galkaio, Garowe and Burao (about 1400 km) formed the backbone of the country's road system. This road now extends to 25 km south of Borama in the Awdal region of Northern Somalia. The other most important roads are the coastal road from Mogadishu to Kismayo (about 475 km) and the road from Mogadishu to Dolo, on the Ethiopian border, via Afgoi and Baidoa (about 600 km), which also branches north-west to Bardhere. In addition, the road from the northeastern coastal town of Bosasso connects the north-south road at Garowe, while a paved two-lane road connects the port city of Berbera to Hargeisa and another paved two-lane, two-way road connects Hargeisa to Dila (25 km south of Borama).

Institutional and Legal framework

23.	Up until 1991, the Ministry of Public Works and Housing (MPWH), through its Directorate of Highways (formerly Civil Engineering Department), was responsible for planning, constructing and maintaining roads throughout Somalia. The Ministry of Land and Air Transport (MLAT) was responsible for vehicle registration and Ministry of National Planning (MNP) responsible for general planning of the sector and for monitoring project implementation. By 1988, Government of Somalia (GOS) introduced major innovations in the management of road maintenance. Notably: (a) DOH was up-graded to the level of an autonomous self-budgeting Directorate of Highways (DOH) under MPWH; and (b) DOH gained direct control over all road maintenance activities in seven newly defined Highway Maintenance Areas throughout the country, and they retained the services of several trained Somali engineers who formed the backbone of the technical capacity of the Directorate. MPWH also established a Road Maintenance Fund (RMF), which generated revenues through a motor fuel tax. It is noteworthy that Somaliland and Puntland, with support from the European Union (EU), have more recently adopted the institutional models promoted under the RMI of the SSATP.

24.	At present, the TFG has a Ministry of Transport (MOT) that has very limited capacity. However, the institutional and legal framework under which it functions is still not fully defined, taking into account the historical and more recent developments in the transport sector. Thus, the TFG should consider membership, representation and support from the SSATP in defining its institutional and legal framework for the transport sector. Already, Somaliland has continued to seek such relationship and support, and this could benefit Somalia as a whole. This issue will require work and refinement in order to arrive at effective institutional model(s) to manage the road transport sector. This will require consultations with the various stakeholders participating in the proposed program.

25.	In the case of Somaliland, many government institutions and private sector organizations have been the beneficiaries of restructuring and capacity building support by international donor organizations. For example, the establishment of Somaliland Road Authority (SRA) and Road Fund Administration with financing from EU is a prime example of successful effort in institutional capacity building. However, the (SRA) still lacks adequate technical, institutional and financial capacity to manage Somaliland’s road network adequately, but it has the fundamental elements in place.

26.	Puntland has established a Puntland Highway Authority (PHA). The main objective of PHA is to formulate and implement roadway and airport rehabilitation programs and to secure transport sector funding from a fuel levy and from international and national stakeholders donations. As in Somaliland’s SRA, the PHA is also a viable entity with the basic required structure for programming and maintenance tasks.

27.	The SRA and PHA are already successfully implementing routine maintenance work on their respective networks, but both need technical and financial assistance to attain their full potential. The SC Somalia does not appear to have any fully functioning institutional arrangements in place to manage the road network. Thus, TFG, based on the outcome of consultations with various stakeholders, will need to decide which model it wants to follow to manage the various parts/levels of the road network.

28.	 Considering that both Somaliland and the Puntland State of Somalia have functioning road authorities, the final institutional structures will need to build on these and strengthen them. SC Somalia will need to consider the advantages of establishing its own institutions. Ultimately, the overall institutional arrangements adopted should foster good cooperation, without undue control or centralization. The proposals for consideration include federal type arrangement to manage the national and regional road networks by building on the examples from federal countries like the USA, Ethiopia, South Africa, India or Nigeria. This is because the issue of how the road network is managed will need to be resolved before major investments can realistically flow into the sector. Where will the responsibility for the major road stretches throughout the country be – under the federal government, or under the regional governments?

Identification of needs, issues and opportunities

29.	The cumulative effect of lack of investment over the last 15 years together with the progressive deterioration of the road network means that the reconstruction and development of needs of the road sector are large. However, taking into consideration the inherently high costs of rehabilitating/reconstructing road infrastructure, the need to carefully prioritize and sequence the required investments is essential. For example, to rehabilitate and reconstruct the primary road from Kismayo to Mogadishu to Hargeisa to paved surface standard could cost about US$500 million, depending on the design solutions adopted. The road was in rather poor condition already towards the end of the 1980’s, especially the section between Jowhar and Belet Uen, and between Xaranka and Jilib. Beyond the priority list of needs and investments, techno-economic feasibility studies and extensive peace building consultations, will be required to quantify the prioritized actions, and confirm economic trends and regional interconnectivity needs.

30.	Development efforts in the more stable regions of Somaliland and Puntland could require different sequencing from the rest of Somalia to take advantage of their more developed absorptive capacity. Recommended actions could include: (a) expanding the technical and managerial capabilities of the SRA and PHA; (b) rehabilitating to a minimum all weather standard (paved) small stretches of the North–South primary road; and (c) constructing gravel feeder roads from coastal towns to inland population centers or to the primary and secondary road networks. Many potential projects in the north and northeastern regions have had completed feasibility studies that are ready for financing. Among other possible road infrastructure priorities are: (a) the development of the Berbera Corridor to provide Ethiopia with access to the Port of Berbera; (b) rehabilitation of part of the Galkaio to Garowe portion of the North–South primary road; and (c) the preparation of Phase II (engineering design) of Borama to Lowyado portion of the North-South primary road. Priorities will be taken from this list for the medium-term program (5 years), depending on the level funding available, and above all, an adequate capacity and a peaceful environment.

31.	Puntland’s five-year development plan outlines a US$19 million expenditure on transport sector improvement. This investment level compared to the current annual budget of US$1 million would require major external technical and financial support to fill the current gaps in absorptive capacity. The JNA team noted that the road between Bosasso and Garowe, while in good shape now, is approaching the end of its design life. This means that it will require major resurfacing and drainage work to extend the road’s serviceability by another ten years. A feasibility study for the Garowe-Galkaio trunk road is near completion, but the section, which is fast deteriorating, would require rehabilitation.

32.	Short term (2 years) needs. The short-term actions for developing this sector should aim at addressing the immediate needs of the post-conflict situation and support the peace building efforts. At the same time, it will be essential to set out an ambitious but practical reconstruction program for transport infrastructure that considers poverty reduction goals in line with the Millennium Development Goals, regional equity and available implementation capacity. The proposals include a two-year high impact and visibility plan to reconstruct gravel feeder roads, increase institutional absorption capacity and create employment opportunities through labor-based works using approaches such as community contracting with food for work where required.

33.	These actions will bring much needed cash to impoverished communities, increase economic activities and improve institutional absorptive capacities. In parallel, detailed techno-economic feasibility studies and extensive consultation on the existing North-South primary road and other major secondary roads will be conducted to better prioritize the needs. This will be supported by studying the capacity building needs and providing institutional strengthening support to establish viable regional institutions in SC Somalia.

34.	In light of the low traffic volumes on most roads, and the long technical preparation times of at least 18 months required for survey and design, contract processing and award, as well as the lack of capacity to implement major road works, the reconstruction and rehabilitation of major roads during the first two years is not anticipated. Thus, the proposed road works and actions would have the following overriding objectives before embarking on additional major investments in the medium to long term.

- Improve/re-establish basic accessibility to major productive centers such as farming communities, livestock hubs and fishery processing centers;

- facilitate peace building and national reconciliation;

- start the process of improving regional interconnectivity to increase economic interaction among the productive sectors and better communication among various groups;

- start to improve accessibility to disaster affected communities;

- start to reduce vehicle-operating cost; and

- start to increase social service delivery and emergency relief to vulnerable people and IDPs.

35.	A significant portion of investments in the first two years will be required to develop institutional capacity in SC Somalia and elsewhere. However, most of the capacity building efforts will need to run concurrently with actual physical improvements of the basic transport infrastructure. This will present a major challenge in terms of having the necessary implementation capacity in place to be able to start road rehabilitation works while also developing the capacity to manage such a program. Along with implementation capacity will be the systems such as the guidelines for procurement, tendering and contract administration as a basis for implementing works under the different possible scenarios existing in Somalia and its regions. Finally, the implementation of the short-term road reconstruction and development plan in much of SC Somalia will be contingent on an improved and assured security and law and order situation. Without an improved security, human rights, as well as law and order, only very limited and localized road reconstruction and development works can realistically be implemented. Reinforcing the rule of law as elaborated in the Governance, Security and Rule of Law Cluster report is therefore a key element towards any reconstruction/ rehabilitation process.

36.	Medium term plan (five years): The medium term plan would seek to build on the community level interventions, complete feasibility and engineering design studies and implement major road rehabilitation and reconstruction work, along with institutional development and capacity building. The selection and prioritisation of projects will need to take into account the strategic peace building importance that infrastructure rehabilitation can have. Criteria can be developed through wide consultation with relevant stakeholders and authorities. The selection of infrastructure rehabilitation could be linked to the efforts or preparedness for peace building and reconciliation that is evidenced in the particular area/region/zone. This recommendation can relate to a general principle of peace dividends/incentives for rehabilitation. By the end of first two years, the various parts of Somalia must have the basic institutional framework to manage the bulk of the road rehabilitation and reconstruction in order to ensure success. The priorities would include the reconstruction of sections of the North-South trunk road and rehabilitation of important secondary roads. Based on a limited field condition survey and interviews with Zonal coordinators, the portion of the North-South trunk road between Mogadishu and Belet Uen (about 322 km) was determined to be beyond repair and will probably need to be reconstructed. The following sequencing of work could follow in the medium term reconstruction phase:

- Select projects to be implemented based on techno-economic feasibility studies, regional and social equity and available funding, as well as explore the possibility for implementing peace building objectives;

- establish the design standards, procurement guidelines and tender procedures that would facilitate the building on the lessons learnt under the short-term program, and for implementation as part of the medium-term program implementation;

- carry out engineering designs, and contract award procedures, for roads with the completed feasibility studies, along with plans for de-mining as required at critical identified locations of various infrastructure facilities;

- identify and categorize capabilities of nationally owned contracting companies; and

- Formulate and implement a strategy for development and maintenance of critical infrastructure.

37.	Development of inter-regional/country corridor: Regional interconnectivity and establishing economic corridors is important for Somalia as a whole and Somaliland in particular. The corridor with the most inter-regional/country connections is the Berbera Corridor road, which provides an important link between the Berbera Port and Ethiopia. The 260 km road includes: (a) Berbera Port to Kalabaydh section (241 km) with a 7.3 m carriageway and originally paved; (b) Berbera to Hargeisa section which requires major resurfacing, replacement of drainage structures, and a bypass of Hargeisa to avoid congestion within the city; (c ) Hargeisa to Kalabyadh section which requires resurfacing and widening to accommodate increased truck traffic; and (d) Kalabaydh to Togwajale on the Ethiopian border (19 km) which is currently unpaved and , requires paving to complete an all-weather road link to Ethiopia. Most of the corridor road was constructed in the 1970's and early 1980's, but has had no rehabilitation works except for maintenance including patching, sealing and reconstruction of damaged culverts.

38.	Other major potential economic corridors include Borama to Djibouti, Bosasso-Garowe-Galkaio, Jowhar- Adale, Mogadishu-Baidoa- Dolow, and Bardhere-Jilib-Kismayo. Somalia will need to explore inter-regional/country links beyond Kismayo to northwestern parts of Kenya such as the link to Ilara, along with links to other parts of Kenya as the program moves from the short-term to medium term implementation. Strategic planning studies carried out for the sub-cluster would provide the basis for decisions in this regard. This will require continued inter-country dialogue as political conditions stabilize in the country, as well with interested financing partners.

Cost of reconstruction and development priorities broken down into short-term (2 years) and medium term (5 years) priorities

39.	The development priorities for infrastructure investments in general and roads in particular are based on the overriding assumption of improved security and law and order in the areas to be served by the prioritized infrastructure selected for reconstruction, rehabilitation and maintenance. The specific needs and costs can be found in Tables 2.4 - 2.11 at the end of the Transport Section of the report. These include some of the priorities expressed by authorities in Somaliland and Puntland. However, refinements will naturally be made during preparation and implementation to confirm the priority needs and costs for SC Somalia, where the overriding concern expressed by some stakeholders is that of ensuring proper security through law and order.

Implementation, monitoring and institutional arrangements

40.	In light of the limited overall implementation capacity, both the short and medium term road reconstruction and development programs will require the creation of a simple but effective implementation framework. The example of Somaliland and Puntland, which have already established functioning Road Authorities, can serve as a model for the management of the road infrastructure in SC Somalia. A federal model could also be considered, if the situation allows. This then could mean establishing a federal roads authority, which would be responsible mainly for national sector policy, and manage the primary road network while regional road authorities are responsible for the secondary and feeder road networks within their respective regions. The TFG, with assistance from its partners, and in close consultation with regional authorities, will need to address the issue of road infrastructure management to enable proper implementation, coordination and monitoring of any road reconstruction and development effort. This should involve arrangements at national/regional levels as well as joint arrangements for coordination of donor-financed programs

41.	A comprehensive action plan for institutional strengthening and capacity building is to be implemented to address institutional framework and capacity issues are addressed in accordance with the Institutional Strengthening Action Plan (ISAP) described in paragraph 13.

42.	The implementation of the road infrastructure reconstruction and development program will require an effective public sector program management as well as capable and willing private sector enterprises and Non-Governmental Organizations (NGOs) to participate in the tenders and execute the works. The Governance, Security ad Rule of Law Cluster report deals with issues related to public-private partnership and private participation in service delivery in general and provides complementary reference. All the tendering processes must of necessity be undertaken according to strictly laid down procedures and guidelines. This would require that the existing tendering and operating guidelines be reviewed for setting the basis for program implementation using private entrepreneurs. One of the important aspects of tendering is everyone’s equal access to the possibility to compete, with the whole process taking into account equity, and ensuring transparency and non discrimination. This would mean that all the tendering notifications would have to be announced in all the relevant regions/districts. The exact procedures need to be established during first two-years (short term program) to ensure replication and extension during the medium-term.

43.	The implementation arrangements will therefore include identifying international and domestic NGOs, which have established the good record of accomplishment for infrastructure works programs implementation in Somalia regions already. The source group will include international/UN implementing agencies such as the ILO, which has implemented labor-based road works in Somaliland and Puntland, and have successfully applied or are implementing workable methods/solutions of execution, such as those described below.

44.	Community Contracting: The community contracting approach was developed by the International Labor Organization (ILO) to address the poverty and massive unemployment existing in rural or unplanned urban settlements. The ILO has already implemented small-scale pilot programs in Somalia using both the Community Contracting and the Employment Intensive Infrastructure Programs (EIIPs). Since the population of Somalia is predominantly rural, Community Contracting is well suited to empower neglected communities, and provide much needed boost to the cash economy. Furthermore, through a process of intensive consultation, the Community will reap additional advantage by being the owner and the beneficiary (user) of the enhanced level of services provided by newly rehabilitated or reconstructed infrastructure. Recruitment principles must minimize potential sources of conflicts by ensuring that various communities and minorities including women and other disadvantaged tribal groupings would have sufficient or equal opportunity for involvement, and employment. A scaling up of this program to cover a larger number of rural communities throughout Somalia could have a beneficial effect by enhancing the economic health and stability of large parts of the country, which would promote peace and development. In the same endeavor, projects such Food for Work implemented by WFP can be utilized to support low scale rehabilitation/ reconstruction projects for both rural and urban areas in consultation with the local leadership and populations.

45.	Employment Intensive Infrastructure Program (EIIP). This was also developed by the ILO to enhance the economic livelihood of communities through labor-intensive infrastructure works. As with Community Contracting, the benefits of EIIP are many and include:

- Community and gender empowerment;

- job and income creation;

- cost-effective labor based method; and

- capacity Building and Partnership Development

46.	Developing national contracting capacity: An essential element will be the existence and availability of qualified domestic contractors available to implement the infrastructure works. In parts of Somalia, especially Somaliland, contractors have been conducting road maintenance work for the SRA in the past few years and have been able to build up some relevant experience in the road sector. Some of the contracts performed by these companies include, bituminous pavement patching and sealing, new culvert construction and rehabilitating and repairing of existing bridges and culverts. In collaboration with ongoing efforts, such those being proposed by ILO under its Mogadishu and Southern project, it will be beneficial to prepare a database of Somali engineers and technicians. This should lead to the establishment of a professional organization and facilitate mentoring, training etc. with some overseas, regional engineers’ associations. The policy and regulatory framework around contracting will also need to be developed and in an inclusive participatory manner. The aim would be to build and establish the culture of transparency, accountability, as well as the guidelines, procedures and arrangements for monitoring the same.

47.	The development of the contracting industry in parts of Somalia has occurred despite continuing law and order issues, lack of bank financing, very limited public funding, limited trained work force and limited equipment. Utilizing the local contractors for the small to medium repair works will prove invaluable for the future development of a sound civil works-contracting base in Somalia. Furthermore, it will ensure that the benefits of investments in road infrastructure will be as widely distributed as possible from a regional point of view. However, taking into consideration the limited capacity of the local contracting industry and probable limited interest from international contractors, development of the local capacity will necessary for the implementation.

(B)	Air Transport/Civil Aviation

Status and context

48.	 Somalia has four major international airports in Mogadishu, Berbera, Hargeisa and Kismayo. The airports in Mogadishu and Berbera, when operational, could accommodate major cargo and passenger planes. Almost all of the other major urban centers in Somalia also now maintain at least one unpaved or paved airstrip capable of handling small aircraft. Since 1995, insecurity has led to the closure of Mogadishu’s main international airport, and it would now require major reconstruction before becoming operational again. However, several unpaved privately owned airstrips have opened around Mogadishu to compensate for the fact that the main airport has been closed for over 10 years. It seems that the overall number of airports/airstrips, etc., may be 60+ (6 with paved runways, with the rest unpaved) throughout Somalia. It is noteworthy that due to the prevailing stability in Somaliland, the authorities have carried out some infrastructure rehabilitation at Hargeisa Airport including the construction of a new Departure terminal built with donor financial assistance.

49.	Airport infrastructure is the most critical piece of infrastructure for trade with neighboring Kenya and Ethiopia. Without adequate airport infrastructure, it would not be possible to expedite high value economic commodities for export and supply around Somalia. This means that the socio-economic consequences of potential high value commodities need consideration when selecting, rehabilitating and reconstructing airport infrastructure.

50.	With the assistance of International Civil Aviation Organization (ICAO), air navigation services are now provided from Nairobi, which are quite rudimentary. The development of the air navigation infrastructure will need to be closely coordinated with the reconstruction of airport infrastructure to provide safe passenger and freight services to/from/over-flying Somalia.

# Table 2.2: Airport Classification and Location.

| Airport Class/Category | Number | Airport Name/Location |
| --- | --- | --- |
| International | 4 | Mogadishu, Hargeisa, Berbera, Kismayo |
| Major Domestic | 4 | Bosasso, Galkaio, Buroa, Ballidogle, |
| Feeder | 8 | Borama, Belet Uen, Bardhere, Kalabayd, Baidoa, Alula, Mogadishu North |
| Airstrips | 45 | Up to the total number including Jowhar, Abudwak, Mareray, Garbahare, Luuq, Afmadow, Wajid in Bakool, Saakow and Bu’aale in middle Juba, Jamame in lower Juba, Abudwaq in Galguduud and several others in Galgudud |
| ALL (Estimated) | 60+ |  |

Institutional and Legal framework

51.	The Civil Aviation Caretaker Authority for Somalia (CACAS) was formed in 1996 to ensure the safety of air transport operations, in the absence of a functioning central government. CACAS is jointly managed by UNDP and the International Civil Aviation Organisation (ICAO). It operates from a facility in Nairobi, Kenya, and field stations in Somalia. With roads in poor condition, poor law and order in large parts of the country, airports are increasingly essential for the movements of humanitarian and commercial goods to/from and within Somalia. The main objectives of CACAS are to: (a) to provide the safe operation and maintenance of essential facilities, equipment and services for all air transport operations in Somalia; and (b) assist in the rehabilitation and development of aviation (airport and air navigation) infrastructure in Somalia.

52.	Somaliland also maintains its own civil aviation ministry responsible for the management of day-to-day operations of Hargeisa and other regional airports. Hargeisa Airport is now the busiest in the country with 1750 landings, 5600 passengers and 2300 tons of Cargo in 2002. It also has regular international flights to Kenya, Ethiopia and Dubai. Other major airports in Somaliland include Berbera with a 4140 meter paved runway, by far the longest runway in the country, Borama, Kalabaydh and Buroa with unpaved airstrips.

53.	Berbera airport is another major international airport in the region. The airport’s design can accommodate any wide body plane including the soon to enter in service A-380. It was even designated as an alternative landing site for the American Space Shuttle. However, despite its long paved runway in reasonable condition, hardly any traffic is using Berbera airport, partly due to lack of basic supporting infrastructure, and partly because of its location away from any major city.

Identification of needs, issues and opportunities

54.	The high economic value of airports has made them a major source of interest and inevitably conflict in parts of Somalia. The best example of this is the airport in Mogadishu, which as been closed for the last 15 years due to on and off fighting over its control. The main reason for airports being a major source of conflict is that, warlords through their control of airports can extort large amounts of revenue through landing fees and taxes on the Khat trade, and other imports. The opening of Mogadishu airport will therefore depend on a comprehensive political settlement between the various factions competing over its control. The competition for control over some of the major infrastructure assets in Somalia, like the ports and airports, are among the key drivers of the conflict in Somalia. Because of the fact that the main airport in Mogadishu is not operating, there are now at least three private airports operating in the area. Before the main airport in Mogadishu can start operating, implementers of RDP need to consult with, and reach an agreement with the owners and operators of the three private airstrips in the area. Without such an agreement, it would be extremely difficult to restart operations at the main airport in Mogadishu. Furthermore, to make the re-opening of Mogadishu airport an economically viable proposition, most of not all the airports that have been built in and around Mogadishu will eventually have to be closed. This process will require extensive consultation, planning and probably compensation. Aside from the political dynamics required for any work on the damaged infrastructure, the capabilities of local contractors to undertake such a huge rehabilitation work are yet to be tested. Developing the technical and managerial capacities of local contractors is essential to allow the preliminary rehabilitation works to start on some of the airport infrastructure.

55.	It seems that people are continually removing sub-base material from under the runway of the main Mogadishu airport for housing construction. This would imply that the structural integrity of the runway may be compromised, and will require rehabilitation or reconstruction. Other airports in Somalia that would require major rehabilitation and equipment upgrades include Hargeisa, Berbera, and Bosasso. Overall, one of the priority actions will be the need to refine and confirm the inventory of the existing airports, their number, condition and needs. Further validation in the early part of the program will be beneficial in identifying the needs and proposed actions. This is because of the high cost of reconstructing and/or rehabilitating airport infrastructure.

Cost of reconstruction and development priorities broken down into short-term (2 yrs.) and medium term (5 years) priorities

56.	The costs and priorities for airports and civil aviation are included in the Tables 2.4-2.11 (pages 20-25) at the end of this Transport Sub Cluster Report.

Implementation, monitoring and institutional arrangements

57.	Implementing any improvements to the airport and air navigation infrastructure will require policy coordination and support from TFG’s ministerial setup, under a Ministry of Transport. However, this should build on the strengths of the working institutional arrangements in both Somaliland and Puntland. In addition, CACAS could play an important coordination and management role in continuing to assist Somalia’s needs to meet the requirements needed to provide international passenger and air cargo services with neighboring countries and the outside world. All interventions regarding air transport in general would need to be made under the overall oversight, management and policy framework of the ICAO, out of necessity.

(C)	Ports and Shipping

Status and context

58.	Somalia, with one of the longest coastlines in Africa (over 3,000 km), has only four major ports located at Mogadishu, Kismayo, Berbera and Bosasso. There are two other ports (Merca and Las Qorey), which are essentially jetties. Each of the major ports is a deepwater facility, which used to handle the bulk of Somalia’s seaborne freight. In 1988, Mogadishu Port was the largest and handled about 817,000 tons of total cargo; representing 73% of export/import traffic, while Berbera handled 20% and Kismayo 4%. The small secondary ports handled the rest of the cargo. The ports of Berbera and Kismayo handled mainly the export of livestock (94%) and bananas (75%), respectively. The Port of Berbera was the main hub for exporting Somali Livestock, until Saudi Arabia’s ban on imports of livestock from Somalia in 1999 due to the Rift Valley Syndrome, reduced its volume of activity. Mogasdishu and Kismayo ports only operated sporadically during the civil war, and both have ceased operations for the last ten years.

59.	Most of the cargo for Mogadishu and environs has now shifted to a privately owned natural small deep-water port in El ma’an north of Mogadishu. The relative security of the northern corridor, and the unresolved border dispute between Eritrea and Ethiopia, have combined to make the Ports of Berbera and Bosasso the main focus of maritime activity in Somalia. Berbera port has attained increased importance as an alternative port for serving the Ethiopian hinterland. The Port was rehabilitated and modernized with financial assistance from the EU. Taking into consideration the limited number of deep ports available in Somalia, and the high capital cost of their rehabilitation, it is essential that any plans made include prior consultation and agreement with all the regional authorities. In the case of Puntland and Somaliland, this consultation would have to form part of the envisaged political arrangements with the TFG and might need to include Ethiopia who could be the principal user of Berbera Port.

60.	While foreign vessels traditionally handled most of Somalia's international trade, the previous Somali Shipping Agency and Line (SSAL) carried about 5%. GOS established SSAL in 1978 as an autonomous parastatal agency under the authority of MFMT. The SSAL shipping operations have now come to a halt due to the conflict. However, prior to this, SSAL operated two small ships of about 4,500 dwt in total and in 1988, total freight transported by SSAL was about 60,000 tons, mostly exports of livestock and bananas to the Near East and Italy, respectively. Financially, SSAL was also about breaking even. To re-establish viable cargo shipping services, the private sector will need to be mobilized together with foreign shipping lines. This is to provide feeder services to major ports in the area like Mombassa and Dubai.

61.	The development of coastal shipping has been limited mainly because there has been little inter-regional trade suitable for such shipping. However, individual operators with small boats of up to 300 dwt carry some passenger and freight traffic along the northern coast between Seyla and Bereda. The development of commercial fishing could stimulate coastal shipping. However, shipping operations in general are being threatened and virtually curtailed because of increased piracy in the along the Gulf coast. This has prompted the international community to deploy warships to combat the rising piracy. Unless piracy is curtailed along the Somali coast, it will be difficult to develop coastal shipping and re-establish feeder cargo services along the Somali coast.

Table 2.3: Ports Classification and Locations

| Port Class/Category | Number | Port Name/Location |
| --- | --- | --- |
| Major | 4 | Mogadishu, Berbera, Kismayo, Bosasso |
| Jetty | 2 | Merca, Las Qorey, |
| Other minor ports | ? |  |
| All | 6 |  |

Institutional and Legal Framework

62.	In 1989, the Ministry of Fisheries and Marine Transport (MFMT) through the Somali Port Authority (SPA), was responsible for port operations, and, through the Somali Shipping Agency and Line (SSAL), was responsible for marine transport. Until 1990, the ports were under the jurisdiction of and were managed by the Somali Ports Authority (SPA). Berbera Port Authority also now manages the Port and requires institutional strengthening. A fraction of the Berbera Port revenue is used for capital investment, resulting in a lack of regular maintenance.

Identification of needs, issues and opportunities

63.	Individuals and groups representing cross-sections of the community, which included civil society, government officials and NGO discussed issues and identified priorities of needs for the various regions. From the discussions, the need to enhance regional interconnectivity and strengthen viability of the established Berbera and other planned economic corridors into the neighboring countries also had its strong linkages to the port improvement needs. Much emphasis is on increasing road links to Ethiopia to strengthen trade activities between the two countries. Somaliland authorities and the private sector emphasize that Ethiopia, with a population of 70 million people and a viable economy, is completely landlocked and dependent on foreign ports, such as Djibouti for most of its import needs and require an additional port to communities in Somali inhabited regions of Ethiopia. Hence, diverting some of Ethiopia's imports from other regional ports to Berbera Port will have a tremendous economic benefit for Somaliland and Ethiopia and in the long term will contribute to regional stability and dialogue. A pre-feasibility study funded by the EU supports Somaliland's contention that Berbera port could handle about 15% of the present Djibouti Corridor traffic. This would translate into about 200-300 thousands tonnes of cargo per year. Other essential economic lifelines for Somaliland include, building small ports and jetties for fishing along coastal towns, and rehabilitating feeder road links to major inland population centers. These basic facilities would support low income fishing communities to access markets and other economic opportunities.

Cost of reconstruction and development priorities broken down into short-term (2 years) and medium term (5 years) priorities

64.	The costs and priorities for ports and shipping facilities are included in the Tables 2.4 - 2.11 (pages 21-25) at the end of the Transport Sub Cluster Report.

65.	For the Berbera Port, the Authorities in Somaliland have been exploring alternatives to generate lost income and for creating new economic development opportunities in the region. The Berbera Corridor Board was established in 2005 to develop, manage and coordinate activities related to the use of the Berbera Port by the Ethiopian Business Community. The Port is also a viable transit hub for responding to humanitarian needs through out the horn of Africa. According to Berbera Port Authority Management, the port could handle 300,000 tonnes of food aid from World Food Program (WFP) for Ethiopia this year alone. The location of the port along the red sea, its proximity to Ethiopia and the fact there is an all weather road network from Berbera to Ethiopia, makes it more likely that the cross-border transit activities will increase dramatically in the next few years. While, the needs of the ports are many, an immediate priority need is to invest in port operations equipment and training of personnel. In the longer-term, action will be required to dredge the navigation channel, which is increasingly affected by wind blown siltation. The Berbera Ports Authority management has submitted the following list of itemized needs for the port, which are presented in AnnexIC.1.

Implementation, monitoring and institutional arrangements

66.	Implementing any improvements to the ports sub-sector along with the development of coastal shipping requires policy coordination and support from TFG’s ministerial setup, under a Ministry of Transport, or the equivalent of the Ministry of Fisheries and Marine Transport (MFMT) that previously existed. These arrangements should build on the strengths of the working ports authorities in Somaliland and Puntland. In addition, all international issues relating to ports operations and shipping need addressing within the framework of the International Maritime Organization (IMO). Finally, the private sector will need to play a key role in the development of coastal shipping services and the re-establishment of regular feeder cargo services to the main ports in the region.

(D)	Estimated reconstruction cost tables broken down by region/zone and duration (short and medium term)

67.	Here below are the costs and priorities for the reconstruction, rehabilitation and development for the various parts of Somalia. The figures are tentative and are subject to further discussion and validation with concerned stakeholders and civil society.

68.	Somaliland:  The reconstruction and development needs of the transport infrastructure sector Somaliland are relatively well defined and prioritized. The total estimated amount required for the short-term (2 years) reconstruction and development needs in the transport sector is about US$59 million, while the total estimated amount required for the medium term (5 years) reconstruction and development is about US$130.5 million. This gives an estimated grand total of about US$189.5 million. See following tables for details.

Table 2.4: Short Term (Two Year) Priority Matrix

(Somaliland Transport Sector)

| Activities | Quantity | Unit cost | Implementation Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| 1. Rehabilitation and construction of Feeder roads | 250 km | $40,000/km | ILO/National contractors/local communities | $ $10.0 |
| 2. Rehabilitation of existing major primary and secondary network roads | 50 km | $300,000 /km | National/International contractors | $15.0 |
| 3. Rehabilitation of critical bridges and structures | 4 Girder Bridge | Lump sum | National/International contractors | $4.5 |
| 4. Rehabilitation and construction of Hargeisa airport infrastructure and preparatory work at Buroa and Borama |  |  | National/International contractors | $4.0 |
| 5. Procurement of essential port equipment | 1-Mobile Crane | Lump Sum | Equipment supplier | $4.5 |
| 6. Capacity Building, Studies and TA and condition surveys |  | Lump Sum | International/National consultants | $5.0 |
| 7. Techno-economic feasibility studies, surveys, designs, detailed engineering, condition inventories and supervision services |  | Lump Sum | International/National consultants | $5.0 |
| 8. Training |  | Lump Sum | National/International consulting firms | $2.0 |
| Total: |  |  |  | $40.00 |

Table 2.5: Medium Term (Five Year) Priority Matrix

(Somaliland Transport Sector)

| Activities | Quantity | Estimated Unit cost | Implementing Body | Total Cost US Dollars |
| --- | --- | --- | --- | --- |
| 1. Rehabilitation and construction of Feeder roads | 300 km | $40,000/km | ILO/National contractors | $12.0 |
| 2. Berbera corridor road rehabilitation | 100 km | $300,000/km | National/International contractors | $30.0 |
| 3. Rehabilitation and limited reconstruction of existing primary and secondary road network roads | 150 km | $350,000/km | International/National contractors | $52.5 |
| 4. Rehabilitation and limited reconstruction of bridges | To be determined |  | International/National contractors | $10.0 |
| 5. Hargeisa Airport runway resurfacing |  | Lump Sum | International/National firms | $15.0 |
| 6. Development of airports to be defined |  | Lump Sum | International/National firms | $5.0 |
| 7. Capacity Building and TA |  |  | International/National firms | $5.0 |
| 8. Design and supervision consultant services |  |  | International/National firms | $5.0 |
| 9. Training |  |  | Contracting Firms | $2.0 |
| Total: |  |  |  | $136.50 |

69. Puntland: The reconstruction and development needs for Puntland are also relatively well defined and prioritized. The estimated total cost of the short term (2 years) reconstruction and development requirements for the transport sector is about US$40 million while the medium term (5 years) requirements is about US$37 million. This gives a grand total for Puntland of about $77 million. See following tables for details.

Table 2.6: Short Term (Two Year) Priority Matrix

(Puntland Transport Sector)

| Item | Quantity | Unit Cost | Implementing Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| Rehabilitation and construction of Feeder Roads | 250 km | $40,000/km | ILO/National Firms | $10.0 |
| Resurfacing part of Galkaio-Garowe Road | 235 km | $200,000/km | National/International Firms | $47.0 |
| Airports (Galkaio) |  | Lump Sum | National/International Firms | $2.5 |
| Bosasso Port | Civil Works | Lump Sum | National/International Firms | $2.0 |
| Capacity Building |  | Lump Sum | International Firm | $5.0 |
| Training |  | Lump Sum | Consulting Firm | $2.0 |
| Total |  |  |  | $68.50 |

Table 2.7: Medium Term (Five Year) Priority Matrix

(Puntland Transport Sector)

| Item | Quantity | Unit Cost | Implementing Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| Rehabilitation and construction of Feeder | 250 km | $40,000/km | ILO/National Firms | $10.0 |
| Resurfacing part of Bosasso-Garowe Road | 200 km | $200,000/km | National/International Firms | $40.0 |
| Improvement of airports at Bosasso and Garowe |  | Lump Sum | National/International Firm | $5.0 |
| Capacity Building |  | Lump Sum | International Firm | $5.0 |
| Training |  | Lump Sum | Contracting Firm | $2.0 |
| Total: |  |  | Total | $62.00 |

70.	SC Somalia: South-Central Somalia includes the following areas: (a) Central (including regions of South Mudug, Galguduud, Hiraan and Middle Shabelle; (b) Benadir (12 municipalities that makeup Greater Mogadishu); (c) Southern (including regions of Lower Shabelle, Lower Jubba and Middle Jubba; and (d) South-West Somalia (regions of Bay, Bakool and Gedo).

71.	For SC Somalia, unlike for Somaliland and Puntland, it was only possible to obtain limited primary and secondary data on the true state of infrastructure. Based on the limited primary field information gathered, it became apparent that the reconstruction of the N-S trunk road sections from Mogadishu to Belet Uen road would have the biggest impact in improving the lives of the people in these regions.

72.	Banadir consists of the 12 municipalities that makeup the city of Mogadishu. Transport sector efforts focus on assessing the needs of the main Mogadishu airport, port and N/S trunk road leading north to Jowhar. The city's other infrastructure needs are covered in the Urban Sub-Cluster report.

73.	The southern regions of Somalia are by far the most productive area in Somalia in terms of agriculture and livestock potential. The Middle Juba regions, for example, have not benefited a great deal from infrastructure development during the past regime, with the exception of the main road (Mogadishu-Kismayo) cutting through the region, and the Fanole project with the hydro-electro power plant and the irrigation canal. The Marere sugar factory also belonged to the region, but has been totally destroyed during the civil war. There was one bridge in Jilib and another bridge over the Juba in Buaale. The road from Jilib to Sakoow is still a seasonal earth road. This example supports the fact that a region can have some infrastructure development in one corner, but be totally neglected through most part setting up the need for improvements to ensure a homogenous entity.

74.	Conditions prevailing on the ground make the existing roads the sources of revenue for the faction or militia group that controls it. Extreme caution needs to be exercised in considering roads for rehabilitation that continue to be under militia control, and often may need to be avoided. The rehabilitation of roads should be linked to the establishment of legitimate structures of government in the areas concerned. This is essential in order to ensure that eventual road levy or road tax collected go to the legitimate governance structure for the road maintenance and repair and not to reinforce the illegitimate structures of warlord/militia rule. This situation highlights the need to build on the principle of peace dividends / incentives for rehabilitation.

75.	In the absence of functioning institutions, any major investment in the road sector cannot be justified, as it would most probably lead to conflicts and increase human rights abuses in the area. Thus, the most practical actions include, over the next two years, to gradually introduce EIIP works, and whenever possible, through community contracting on relatively simple projects. Proposed works include opening up all drainage structures/facilities including, cross drainage, side ditches and miter drains on sections of roads through “village maintenance committees”.  The initial surveys could include using local resource professionals to identify specific bottlenecks in road sections, open and improve the sections in order to gain and maintain access. The approach adopted could include use of EIIP labor-based works, local machine operators, and contractors. ILO is currently beginning work in Baidoa and Merca, and the experiences in both places will prove invaluable for replicating across those areas of Somalia.

Table 2.8: Short Term (Two Year) Priority Matrix

(South-Central Somalia Roads Sub-Sector)

| Item | Quantity | Unit cost | Implementing Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| Rehabilitation construction of Feeder Roads | 200 km | $50,000/km | ILO/National Contractors | $10.0 |
| Rehabilitation and limited reconstruction of part of N-S Trunk Road (Mogadishu –Jowhar) | 100 km | $350,000/km | National/International Consultant Firms | $35.0 |
| Techno-economic feasibility studies, surveys, detailed engineering, condition inventories and supervision services |  | Lump Sum | International/National Consultant Firms | $5.0 |
| Capacity Building |  | Lump Sum | International/National Consultant Firms | $5.0 |
| Training |  | Lump Sum | International/National Consultant Firms | $2.0 |
| Total: |  |  |  | $57.00 |

Table 2.9: Medium Term (Five Year) Priority Matrix

(South-Central Somalia Roads)

| Item | Quantity | Unit cost | Implementing Body | Total Cost US Dollars |
| --- | --- | --- | --- | --- |
| Rehabilitation and construction of Feeder Roads | 300 km | 50,000/km | ILO/National Contractors | $15.0 |
| Rehabilitation and limited reconstruction of N-S Trunk Jowhar-Belet Uen | 300 km | 300,000/km | National/International Contractors | $90.0 |
| Design, supervision services and other services |  | Lump Sum | International/National Consultant Firms | $10.0 |
| Capacity Building |  | Lump Sum | International Firms/National Consultant Firms | $7.5 |
| Training |  | Lump Sum | Contracting Firms | $2.5 |
| Total |  |  |  | $125.00 |

Table 2.10: Short Term (Two Year) Priority Matrix

(South-Central Region Airport/Ports)

| Item | Quantity | Unit cost | Implementing Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| Rehabilitation of Mogadishu Airport |  | Lump Sum | National/International Firm | $7.0 |
| Equipment for Mogadishu Port |  | Lump Sum | National/International Firm | $5.0 |
| Rehabilitation of Kismayo Airport |  | Lump Sum | National/International Firm | $2.0 |
| Equipment for Kismayo Port |  | Lump Sum | National/International Firm | $3.0 |
| Equipment for Merca Port |  | Lump Sum | National/International Firm | $1.0 |
| Capacity Building |  | Lump Sum | International/National Consulting Firms | $5.0 |
| Training |  | Lump Sum | International/National Consulting Firms | $2.0 |
| Various design and supervision services |  | Lump sum | International/National Consulting Firms | $5.0 |
| Total |  |  |  | $30.00 |

Table 2.11: Medium Term (Five Year) Priority Matrix

(South-Central Region Airport/Port Repairs)

| Item | Quantity | Unit cost | Implementing Body | Total Cost US Dollars million |
| --- | --- | --- | --- | --- |
| Rehabilitation and reconstruction of Mogadishu Airport |  | Lump Sum | National/International Firms | $40.0 |
| Rehabilitation and equipment for Mogadishu Port |  | Lump Sum | National/International Firm | $20.0 |
| Rehabilitation and reconstruction of Kismayo Airport |  | Lump Sum | National/International Firms | $20.0 |
| Rehabilitation and equipment for Kismayo Port |  | Lump Sum | National/International Firms | $20.0 |
| Rehabilitation and equipment for Merca Port |  | Lump Sum | National/International Firms | $8.0 |
| Capacity Building |  | Lump Sum | International/National Consulting Firms | $8.0 |
| Training |  | Lump Sum | International/National Consulting Firms | $2.0 |
| Various design and supervision services |  | Lump Sum | International/National Consulting Firms | $6.0 |
| Total |  |  |  | $124.00 |

III.	POWER & ENERGY

Introduction

80.	Energy is one of the key drivers in the development of any country’s economy. As the post –conflict situation in Somalia eases, and the country starts to stabilize, energy will play an important role in giving the economy a kick-start and a sustained development. Electricity, being the main source of energy that can be quickly and reliability tapped into, will initially play a very important role. With reliable and quality electrical supply re-established, the reconstruction and development of the nation can focus on other aspects of improved commercial and industrial activities.

Status and context

81.	Somalia primarily uses charcoal and firewood as the main source of domestic energy. It is estimated that about 87% of the country’s energy consumption is using biomass fuel. Petroleum products account for about 11% of the total energy use, while electric power generation using diesel fuel, account for about 2% of the total energy use. Electric power is probably the next highest source of energy and is used mainly for the residential, commercial and industrial sectors. Electric power, using diesel generators, is used to run most of the borehole pumps in the rural areas and supplies up to 40% of the urban areas. Firewood and charcoal provide the rest of energy in the urban areas too.

82.	Most of the electric generation plants in urban and rural areas are owned and run by private enterprises or NGOs. In most instances, privately owned and operated generators supply electricity on a commercial basis. For some private generators, the primary objective is to supply their own premises (telephone companies, hotels, small industry, etc.) and the spare capacity is sold over a very rudimentary isolated network to supply the consumers in the locality.

83.	Other sources of energy in Somalia are solar, wind, coal and hydroelectricity. These are mostly untapped. Some wind turbines exist, but are not functional, on the east coast. Fenole in the south has a 4.6MW hydroelectric plant. The generation from this power plant has been unreliable because of the seasonal flow of the Jubba River and the agricultural needs upstream of the plant. Work was about to commence on a more reliable hydroelectric scheme at Bardhere. However, its construction came to a halt in 1989. There were some rather serious environmental concerns raised in regards to this planned dam, since it would put tracts of land under water and possibly change the fragile balance of the ecosystem around the Juba River. The former government had a special ministry set up for the development of the Juba River, and any future action would need to consider the body of knowledge available. The development of renewable energies to lessen the amount of charcoal consumed in Somalia will be critical. However, its development will take time and will be capital intensive.

Institutional and Legal framework

84.	The TFG, Somaliland and Puntland have Energy directorates/authorities. They form a focal point for data collection and policy setting and need empowerment to implement the policies.

85.	Government Electricity Supply agencies/authorities operate in regional centers of Somaliland and Puntland. These agencies, in most instances, operate existing publicly owned power plants and/or distribution networks. Table 3.1 is the list of known public companies in various zones with a description of its status in the zonal government.

86.	Puntland Electric Energy Authority, which owns the Bosasso, Ghardo and Garowe power stations, has recently signed up a private enterprise to manage the power stations and distribution network. The terms of the agreement are yet to be finalized and implemented.

87.	While private companies can provide electricity at the local level, there is no legal framework enforced, and even the authority of the local government Agency is weak to enforce basic standards or safety criteria. The electricity supply business is usually managed in consultation with the local community leaders. In this context, Somali authorities should ensure that the privatization of basic social services such as power does not compromise general access, availability and quality. Actions taken must not result in the denial of access of vulnerable and poor people to socio-economic rights and benefits. Actions should include developing and implementing specific interventions to provide access to minimum power supply for the poor to reduce the extent of unequal access to basic social services in the community and regions.

Table 3.1: Electricity Agencies/Authorities in Somalia.

Agency/Authority; Status. Somaliland Electricity Agency, Somaliland; Independent Authority. Head of the Agency appointed by the Somaliland President.. Puntland Electric Energy Authority; To be confirmed. Nugal Electricity Co-operative; Private co-operative of local investors. Also working with the Puntland Government in Nugal region.. Ente Nazionale Energia Elettrica (ENEE), Mogadishu; ENEE used to be the main placer in the energy sector before the collapse of the central government. It’s current role and function is unclear since most of the power generation in South Central parts of Somalia is done by small-scale private operators..

88.	The points to note about supplier/consumer/authority relationships are as follows:

- When connecting customers to private generators, the connection is provided without any legal basis for quality, reliability and safety;

- the private operators collect revenue from their customers and a percentage is paid to the authorities as a concession and for use of the streets to install overhead lines; and

- the commercial basis of supply, where metering is not available, is the size of the installation.

The Electricity Grid

89.	An electrical grid connects major load centers to more than one power source. Such a grid is non-existent in Somalia. Some 15kV feeder lines exist in major regional centers transmitting power from a single power station to the load areas with step-down transformers 15kV/380V. The lengths of the 15kV lines in regional centers are summarized for some towns in Somaliland and Puntland in Table 3.2 below. Most of the supply is over low voltage (380/220 volts) distribution lines from a single generator source to the load area. There is no interconnection of various generator sources. This means the generators are mostly under-utilized at the time of low loads and cannot share the loads at peak times. Such a system is called a radial system (as against interconnected system), and has much lower reliability and is more costly to operate. In order to run a generator in parallel with other generators on the network, a synchronization facility is required on each generator. Running many generators in parallel requires a system stability study. It is recommended to have a large pool of generators (power station), and run a grid to interconnect the power stations.

90.	The feeder lines are built of bare aluminum or copper conductors, strung on wood or concrete poles, with appropriate hardware (post insulators and line discs) for support.

91.	The 380V distribution networks are very rudimentary. Most of the distribution lines are built by stringing single core or twin, PVC insulated cables on very thin poles. The poles are of different sizes, and makes. Some are wooden others steel. The same poles also carry the communication wires. An example of this type of rudimentary electrical distribution system in Hargeisa is shown in Figure 1.

Table 3.2:	Route Lengths of 15kV feeder lines – Somaliland, Puntland

and Some South-Central Locations.

| Township/Center | Route length of 15kV OH Line (km) |
| --- | --- |
| Bosasso, Bari | 7.5 |
| Hargeisa, Woqooyi Galbeed | 15 |
| Gardho, Bari | 3 |
| Berbera, Woqooyi Galbeed | 4.5 |
| Burao, Togdheer | 4 |
| Garowe, Nugaal | 4.5 |
| Jowhar, Middle Shabeelle | 5.5 |
| Merca, Lower Shabeelle | 6.5 |
| Baidoa, Bay | 8.5 |

Figure 1: An example of electrical distribution lines in Hargeisa.

92.	Some Overhead distribution network installed on appropriately sized wood or concrete poles also carry the feeder lines. Generally, the distribution network is unsafe and underrated to provide a quality of supply. Some two deaths per year occur in small townships due to electrical accidents. Underground network is virtually non-existent.

Rural Systems

93.	The rural population of Somalia has very little or no access to electrical power. The main source of energy is charcoal or firewood. If a microwave cell phone tower is erected in the village, a small generator provides access power to the residential/commercial properties in the vicinity.

94.	As stated before, firewood and charcoal are the key fuel for energy. This has hastened deforestation in most of the greener and semi-arid parts of the country. Further information on the potential for the development of Renewable Energy is in Annex III.1.

Generation

95.	It is difficult to identify accurately the total installed generation capacity in various population centers because of the existence of private unregistered generation. However, Table 3.3 below is the summary of generation figures collected on site visits or obtained from various government agencies and private operators. These figures are installed capacity. The actual output is well below the installed capacity because, from time to time, some power plants are out-of-service due to lack of spare parts for servicing. Taking into consideration the average age of the generating plants across Somalia will mean that unless a substantial portion of it is replaced with new generating capacity, actual output will fall even further.

Table 3.3: Installed Generation at Various Power Stations.

| Location | Owned by | No.x Size (kW) of units installed |
| --- | --- | --- |
| Garowe, Nugaal | Nugal Electricity Co-operative | 2x280 1x250 1x100 |
| Bosasso, Bari | SomaliTech | 3x600 |
| Hargeisa, Woqooyi Galbeed | Somaliland Electricity Agency | 1x1250 3x1500 |
| Gardho, Bari | SomaliTech | 2x140 |

96.	The Somali Government National Energy Document June 1988 states that the total installed capacity in Somalia was 55,300 kW of which 38,000 kW (69%) was in Mogadishu. Most of the generators that were installed then have been either looted, damaged or have had parts removed to replace in other machines or out-of-service due to lack of parts. Hence, the output from power stations with such equipment is much lower than what is “installed”. Some generators have been replaced with second-hand generators by the local authorities.

97.	Most generators work singly because synchronization equipment is not available in many cases. The associated switching and control equipment is not maintained due to inability to take generator off line, lack of parts and lack of expertise. This leads to under utilization of the generators in periods of low loads. In addition, at times of peak load, generators with spare capacity cannot share the load. Synchronization is also required to run in parallel to the generators that are on the grid.

98.	Capacity building is the key requirement for building, operating and maintaining the electrical infrastructure for most of Somalia.

Consumer connection and sale of electricity

99.	Consumers are connected by running a suitable/available wire from the point of attachment on the premises to the nearest pole in the street. In some instances, the connection is made to the neighbor’s point of attachment if a power pole is not in the vicinity. The consumer installation is not tested in all cases and mostly do not have adequate earthling safety feature.

100.	Consumer connections made to the grid run by the government agency have a better chance of being formally connected and recorded.

101.	In the regional centers like Hargeisa, Somaliland Electrical Authority (SEA) meters the connection and the charges are (a) US$0.50 / kWh for three-phase supply; and (b) US$ 0.60 / kWh for single-phase supply.

102.	However, across the nation, the average charge per kWh of electricity used is US$1.00 per kWh. Hospitals, mosques, schools, public clinics, recreation centers/community halls and streetlights are charged US$0.50 per kWh. Some suppliers do not charge some of the institutions mentioned. In addition, in some regions, government-owned buildings are connected to government-owned power stations and do not pay for electricity.

103.	A summary of kWh generated and sold by SEA, Hargeisa in 2005 is shown in Table 3.4.

Table 3.4: Hargeisa Power Station production

| Month | Production kWh | Sales kWh | Loss kWh | % |
| --- | --- | --- | --- | --- |
| January | 289,975 | 174,777 | 115,198 | 40% |
| February | 263,660 | 173,680 | 89,980 | 34% |
| March | 309,386 | 154,905 | 154,481 | 50% |
| April | 304,173 | 168,893 | 135,280 | 44% |
| May | 296,796 | 151,136 | 145,660 | 49% |
| June | 297,712 | 181,250 | 116,462 | 39% |
| July | 300,476 | 161,873 | 138,603 | 46% |
| August | 327,025 | 168,885 | 158,140 | 48% |
| September | 316,068 | 164,114 | 151,954 | 48% |
| October | 344,191 | 179,268 | 164,923 | 48% |
| November | 318,616 | 201,044 | 117,572 | 37% |
| December | 310,253 | 173,848 | 136,405 | 44% |
| TOTAL | 3,678,331 | 2,053,673 | 1,624,658 | 44% |

104.	Some private operators charge based on the size of the installation: In some instances, it is reported that domestic customers are charged US$1.00 per light point per month.

Identification of Needs, Issues and Opportunities

Short Term (2 years)

Overall Energy Situation

105.	The provision of energy for most of the country is from firewood or charcoal. Petroleum products are the next fuel type in use, mainly for transport and industry use. Electricity, generated mainly using diesel (light fuel and then heavy fuel) is the next energy source.

106.	Use of firewood is widespread especially in rural areas, and this is causing environmental concerns with the depletion of forests. However, it is the cheapest fuel available and culturally integrated into domestic situation. In case of the latter, development of other affordable fuel types and substituting for charcoal will also ease the lifestyle of the female homemaker, who is traditionally responsible for the house chores. Other alternatives to traditional fuel provision will also mitigate the risk of women’s exposure to Sexual Gender Based Violence while collecting firewood.  Stand-alone, decentralized rural energy systems based on renewable sources are considered to be a viable option for meeting the energy needs of sub-rural communities. The concept being pursued in this is based on an appropriately sized solar and wind energy conversion systems. Please see the Renewable Energy Annex for more information.

107.	Refined petroleum products are 100% imported, and current imports of petroleum products are estimated at less than 100,000 tonnes per annum. Off-loading facilities and storage facilities are available for ships at Berbera and, to a lesser extent, at Bosasso. Fuel is stored in tank farms and carried inland using tankers. Fuel is transported in 200-liter steel drums. The cost of heavy diesel is $45 per drum, while the cost of light diesel is $110 per drum. These prices vary upwards to about 25%. Ministries of Commerce of respective zonal governments keep the Importation statistics.  Based on these estimates, the composition of petroleum products is as follows: Diesel (Gas) oil is by far the most important product due to its widespread use in transport (totally by road), electricity generation and industry, and accounts for about 55% of the total. Gasoline (23%), Fuel oil, which is largely used for electricity generation in the regions (13%); Kerosene (8%); and LPG, less than (1% ) obtainable from IRAQSOMA when it was active. Consumption by end - use in 1986, was estimated as follows: Transport-41%, Electricity generation, 28%, Industry 10%, Agriculture, public administration, commerce, and residential sectors-7% each.

108.	Electricity supply is critical for lighting and communications. While some light industries and water supply plants use it for motor power, others use diesel-driven engines. The quality and reliability of electricity supply leave much to be desired.

Areas of immediate needs

109.	Heavy use of firewood and charcoal is of great concern due to the impact that it is having on accelerated deforestation. Immediate steps are required to reduce reliance on this fuel source using renewable energy and other possible alternative energy sources. JNA field visits in Somaliland and Puntland confirmed the possible use of different types of renewable energy technology (solar and on a limited basis, wind energy), although not widespread at present. The NGO – Horn Relief – is currently leading the production and promotion of various types of renewable energy products with a high chance of increased private commercial production. These efforts should be further promoted and enhanced through appropriate regulation, financing and capacity building.

110.	The reliance on refined petroleum products should also be reducing as much as possible due to its escalating costs and environmental impacts. The transport sector use may only shift from the use of petrol to natural gas or other alternatives in the long term, but industries and the power sector could make that move in the medium term.

111.	To boost economic development and standard of living immediately, improving the electricity infrastructure and supply would be most effective. Improved access to energy will leave time for disadvantaged communities for adult vocational/ literacy training and for women to develop creative activities for their children. If the investments to improve the electricity infrastructure are well planned and targeted, they can be done relatively quickly and will positively affect a large segment of the population and economy. However, the necessary legal and operational framework will need to be put in place to avoid the further haphazard development of the sub-sector. Projects implemented would also explore the provision of inexpensive or free access to power supply, as required, for poor and low-income families.

Proposed arrangements for immediate needs

Alternative sources of energy

112.	The suggested alternatives to firewood and charcoal are as follows, in the order of priority:

- LPG Gas. It is possible to implement tanked gas supplies to most areas near the port or that have reasonably good access to the ports, e.g., Berbera, Hargeisa, Bosasso, Ghardo, Garowe, Mogadishu, Kismayo, Belet Uen, and other major regional towns. UNDP has initiated a study on the establishment of this enterprise for Somalia. The Productive Cluster of the JNA will be looking more into this, including the provision of gas stoves, fridges, etc.
LPG Gas is considered as having a higher priority than Kerosene due to its positive environmental impact; and

- Kerosene. Since there are already facilities to import petroleum products, kerosene, (which may already be imported but no data is available), would be an easier alternative to implement. Again, this requires the provision of kerosene stoves, fridges, etc
If the Productive Cluster deems LPG Gas commercialization harder or difficult to achieve in the short-term, kerosene is recommended as an alternative. However, it should be noted that the general census is a reluctance to use gas for perceived safety reasons. Introducing kerosene first would make it culturally harder to change the course to LPG in the medium term.

113.	The critical elements in introducing any of the above alternatives (LPG Gas and kerosene) will be to bring about a cultural change in household energy consumption and price it right. While the former can be managed through an appropriate communication and marketing strategy, the latter may require Government subsidy initially. In light of the major environmental benefits of introducing LPG Gas for household consumption, its initial subsidization should be considered. Careful planning is required to address any probability that implementation of the conversion to LPG or Kerosene is impaired initially because of costs.

114.	The above are short to medium term cost effective alternatives to firewood and charcoal, which have heavy domestic use. The energy source for commerce and industry will remain electricity, which is generated using expensive imported diesel fuel. Further information is in the attached Renewable Energy Annex III.1.

Electricity

115.	As stated above, the changes in this energy sub-sector, by way of the provision of electricity supply, can be implemented relatively fast. In addition, the impact of the change will be significant on a wider population. Electricity generation has a strong economic multiplier effect; and it will act as an immediate catalyst for commercial and industrial development. Furthermore, it can improve the standard of living of a large part of the population relatively quickly.

Recommendations 1 – rehabilitate and expand distribution network

116.	The electricity transmission and distribution network needs to be improved and developed. This has several immediate advantages as illustrated in the following paragraphs.

117.	It will allow electricity distribution over a larger area. Properly planned network will also enable electricity transmission over longer distances before distributing to local areas. Cables on a power line sized and constructed correctly will reduce voltage drop and power losses along the line. Moreover, building the network will immediately connect more people. It will reduce losses, and add revenue to suppliers, with an overall improvement in the quality of supply.

118.	Constructing an interconnected transmission and distribution network will allow rationalization of the generators on the system. During site visits to various towns, e.g., Garowe, some large generators were running on low loads during off-peak. In addition, during peak loads, some networks could not take on the spare generation capacity of the adjoining networks because of the lack of interconnection and inability to synchronize.

119.	It will encourage single generator operators to draw from the grid (and still have their generators as standby supply), or combine their business with other similar operators to run a larger power station. Having few large power stations on the grid will also improve system stability.

120.	Table 3.5 below is an estimate of the additional lengths of 15kV (transmission) and 380/220 Volts (distribution) lines recommended for initial installation in the regional centers and important ports. In the short-term, development is recommended for these locations only due to the post-war state of the nation. An established, reliable base is required to manage and run the total development program. The short-term view is over 2 years only, the time it will require to implement the program with the limited funds expected to start the development. The prioritisation on the basis of possible peace dividends can still be considered.

121.	Additional distribution transformers (15kV/380V) are required as an integral part of the network. Some local supply authorities have indicated their requirements. Where such data is not available, the estimates are based on average distribution lengths for various voltage levels for the geographical size of the towns. The number of distribution transformers is important in a distribution system to maintain good quality supply.

Table 3.5: Transmission & distribution construction required in the short-term

| Location | 15kV Three Phase Overhead Line (km) | 380/220, 3-phase, 4-wire Overhead Line (km) | No of 15kV/380V, Distribution Transformers |
| --- | --- | --- | --- |
| Mogadishu, Benadir | 100 | 300 | 100 |
| Kismayo, Lower Jubba | 40 | 120 | 40 |
| Garowe, Nugaal | 4 | 12 | 4 |
| Bosasso, Bari | 5 | 15 | 5 |
| Hargeisa, Woqooyi, Galbeed | 20 | 60 | 20 |
| Berbera Woqooyi Galbeed | 6 | 20 | 6 |
| Galkaio, Mudug | 4 | 12 | 4 |
| Jowhar, Middle Shabeelle | 15 | 45 | 15 |
| Baidoa, Bay | 20 | 60 | 20 |
| Belet Uen, Hiraan | 20 | 60 | 20 |

Recommendation 2 -- Expand generating capacity

122.	Concurrent with the implementation of the first recommendation, large power stations (with multiple generators) would need to be established on the grid. Actions required include improving the state of the existing large power stations and installing new power stations in some regional centers. Priority locations could include only regional centers and important ports at this stage. In Boroma, Somaliland, it was observed that small scale generators wanted to form co-operatives with others, since running small generators was proving unprofitable. This form of co-operative ventures should be encouraged to the advantage of the investors and the electrical system.

123.	In case of the hydroelectric plant at Fenola, a joint study during the short-term period is required with the irrigation/ agriculture sector to determine the serviceability of the hydropower plant, along with the cost and economic viability of re-commissioning the Fenola hydropower scheme. The capacity to run the plant efficiently should be assessed. As an option, TFG in collaboration with the state governments/regional government could enter into a lease agreement with a private company to run the plant for a reasonable time span, e.g., 10 years.

124.	In most towns/cities of Somalia, currently, there are numerous private generators, who are mostly operating independently and not within the context of a grid. This raises the following issues:

- There is a need for a synchronization facility at each location so that all the generators in the grid could operate in parallel and rationalize their capacities;

- for maintenance of the lines and other equipment on the network, isolation of part of the system becomes very complex;

- the system could become unstable under fault conditions and all generation can be lost due to overload; and

- safety of line workers, plant operators and other workers on the network can be compromised.

125.	Summarized in Table 3.6 below is the additional generation required at various locations. Depending on the size of the generation and the existing network voltages, it may be worthwhile generating at transmission voltage and not require a step-up transformer to transmit power over the network. This will also assist with keeping the system losses low. There is also the need for specific location selection criteria for rehabilitation/reconstruction in order to avoid perceived bias to certain areas, and contribute to the peace building objectives.

Table 3.6: Additional generation required to be installed a various places

| Location | Additional Generation required (kW) | Location | Additional Generation required (kW) |
| --- | --- | --- | --- |
| Mogadishu, Benadir | 30,000 | Berbera Woqooyi Galbeed | 3,000 |
| Kismayo, Lower Jubba | 10,000 | Galkaio, Mudug | 2,000 |
| Garowe, Nugaal | 2,000 | Jowhar, Middle Shabeelle | 7,000 |
| Bosasso, Bari | 3,000 | Baidoa, Bay | 3,000 |
| Hargeisa, Woqooyi Galbeed | 5,000 | Belet Uen, Hiraan | 5,000 |

Recommendation 3 – rebuild needed skills

126.	While some basic electrical skills are available in limited numbers at technician level, the numbers and skill levels need to increase to cater for the expanded network and proper operation of the system. A lot of plant and equipment breakdown has been due to, inter alia, lack of maintenance. In addition, due to lack of skills and shortage of skilled staff, plant and equipment remained out of service.

127.	To deal with this situation, we recommend including training in the delivery contracts for all development projects implemented in the short term.

Recommendation 4 - Develop planning capacity

128.	Engage a Planning Team to develop area and regional plans for the electricity infrastructure. An overview of short-term and long-term development of electrical infrastructure is essential to integrate the former with the later. The Planning Team will also play a crucial role in the development of policies and institutional framework to encourage private investment into the sector.

129.	The planning team should be composed of technically competent people, but at the same time ensure inclusiveness, fair representation and transparency in the selection process. The policy development needs to take into account all the stakeholders in the process. The Team should comprise Private Enterprise (consumer and investor), Technical Experts, Government representatives and community groups. Technical Experts are required immediately to plan and design individual areas for the development of the electrical network.

Policies and Institutional framework required for immediate needs

130.	As stated above, the relatively stable Somaliland and Puntland already have appropriate ministries, authorities/agencies established for dealing with energy matters of the region. The powers of these institutions need to be rationalized with the TFG to provide a national approach and planning criteria for the development of the energy sub-sector. The existing institutions also have a strong need for capacity building to make them effective. Of course, the whole of government approach, in terms of law and order and governance, is the basis for effectiveness of these institutions. Once the institutions are established, the priority issues to address are:

- The need to implement Public Private Partnership (PPP) in the energy sector, beginning with the electricity supply industry (ESI). The ESI requires private investment and management for the speedy recovery and development of the industry. At the same time, there is the need for regulation to provide quality, safe and affordable electricity to the public, on a sound commercial basis;

- once the electrical grid is established, private participation is more likely to be in the generation business of the ESI. While it is possible to privatize the electrical grid as well, the rules of cost sharing on the grid (capital and operational) by the generators and retailers of electricity can be very complex, if owned by multiple private investors. As a starting point, to simplify the operations, it is recommended that the grid has a single ownership, i.e., privately owned and government regulated or government owned and regulated and privately managed;

- the establishment of an independent Electrical Installation Inspectorate is also necessary. The role of the Inspectorate is to ensure the quality and safety in the ESI, from the generation to distribution and customer installation. The cost of running the Inspectorate should then be borne by all the participants (investors) in the ESI;

- the customer connection and sale of electricity can be an enterprise independent of the generation and transmission & distribution business. This set up needs to be looked at closely for the long-term structure. Initially, it can be bundled with the grid or the generation business; and

- The introduction of LPG and kerosene as an alternative to firewood and charcoal will need to be managed nationally. This will also require a legal framework to set up the storage and distribution of the fuels. For further discussion of this, see the Productive Sectors Cluster Report.

Costs

131.	The estimated costs of the above recommendations are shown below.

Introduction of LPG Gas and Kerosene as alternative fuels

132.	The costs are associated with setting up the storage and distribution systems. The infrastructure required for storage and distribution of LPG Gas and Kerosene is what is required also for the distribution of other hydrocarbon products.

Electricity

133.	The estimated cost for implementing each of the above recommendations is summarized in Table 3.7 below.

134.	These costs are only initial costs, but revenues from electricity should be able to cover the on-going operating costs. This assumes that the rates and collection of rates follows commercial principles to allow the sustainability of the electricity generation and distribution industry.

Table 3.7: Estimated cost of implementing the short-term needs

| No. | Recommendation | US$ (million) |
| --- | --- | --- |
| 1 | Development of Transmission and Distribution network | $8.6 |
| 2 | Development of Power Stations | $70 |
| 3 | Training and skills development | $6.3 |
| 4 | Establishment of the Planning Team | $1.6 |
| 5 | Establishment of Regulatory Body for Public Private Partnership | $0.4 |
| 6 | Establishment of Electrical Installation Inspectorate | $0.8 |
| Total |  | $87.7 |

Medium Term (5 years)

Strategic objectives and policies

135.	With the above short-term actions underway, the demand for electricity will increase as the general population starts to settle and the economy grows. The Planning Team recommended above, should initiate studies on further improving the capacity of the electrical network and rationalizing generation of electricity. This will require the preparation of detailed techno-economic and preliminary engineering studies to prioritize investments in electricity generation and distribution.

136.	Inter-regional grids would be more economical in the southern parts of the country as the population density is higher in the area. In the north, the population density is only 8 per sq. km while in the south it is 20 per sq. km. Actions should include a system study to plan the medium term to long-term goals and program for developing the electrical infrastructure.

137.	More regional towns should be electrified as part of the Rural Electrification program and brought to acceptable standards. In addition, three projects recommended that could start in the medium term, after verification by the system study recommended above. These projects should come on line as the demand for electricity grows with the country’s development and they are: (a) Interconnection of Jilib, Jamama, Kismayo and Fenola; (b) re-commissioning of the power plant in Fenola; and (c) commence investigation and studies in the possibility of developing the Bardhere Hydroelectric Scheme. The potential of this latter scheme is to alleviate the power problems and reduce reliability on fossil and hydrocarbon fuel. A careful politico-economic study is required. Without the well-planned and strategic addition of additional electricity generation capacity, it will be extremely difficult to ‘power’ the reconstruction and development of Somalia.

138.	Future investments should carefully assess the inclusion of other possible sources of energy such as wind and solar. All renewable sources of energy have good potential in Somalia. This will require an in-depth study of their viability and costs. Thus, the recommendation is for initiating technical studies immediately to enable these sources to be exploited in the medium term.

139.	Solar. The applications of solar energy include powering emergency telephones along highways (successful), heating water with rooftop installations (successful but at best marginally cost-effective where energy is cheap), electric power where grid energy is not available (apparently not cost-effective at present compared to diesel generators) and central station electric generation (not presently economical). The capital cost (approx. US$6.00 per Watt (peak)) may still be cost-effective where the current cost of electricity is about US$1.00 per kWh.

140.	Wind. As stated above, existing out-of-service wind turbine on the east coast are examples of failed attempt to harness wind power. The wind pattern map needs to be developed. Wind pumps may well prove to be the right energy source for borehole pumps in rural areas.

141.	Geothermal, natural gas, crude oil and charcoal. The potential of finding these sources of energy in Somalia seems to be good. Coal deposits have been found in parts of the country and were exploited in a very limited manner by the Italian colonial authorities. Other potential sources of energy will need very extensive geophysical investigations. Taking into consideration the very high cost of oil and gas on the international markets, and assuming a much improved security situation, the assessment of Somalia real oil and gas-producing potential should be finally undertaken. Again, the productive sector of the JNA has included this in their investigation and report.

142.	Furthermore, training the workforce has to be considered on a national basis. While a separate assessment is not done for the requirement in this area of training, the framework set for Capacity Building and training as well as setting the Institutional Framework was discussed as part of ISAP in Section 13.

Institutional and Legal framework

143.	The institutional framework recommended in the short-term needs to be strengthened and provided with a strong legal basis. This is particularly the case for power generation and distribution. Appropriate demarcation need to be set between the Regulatory Body and the Inspectorate. The former should focus on commercial arrangements, public tariffs and easement issues. The latter would ensure the reliability, quality and safety of the ESI.

144.	The regulatory and operational set up for the customer connection and sale of electricity business should be decided. This will lead to the price setting for the connection and sale to be completely removed from any regulation.

Costs

145.	The estimated cost for implementing the above recommendation for the power sector is summarized in Table 3.8 below. The details are in the spreadsheet in the appendices.

Table 3.8: Estimated cost of implementing medium term needs

| No. | Recommendation | US$ (million) |
| --- | --- | --- |
| 1 | Development of Transmission and Distribution network | $4 |
| 2 | Development of Power Stations | $49 |
| 3 | Interconnection of Mogadishu, Jowhar and Fenola | $11 |
| 4 | Rural Electrification | $10 |
| 5 | Re-commissioning of the power plant in Fenola | $2 |
| 6 | Commencement of the Bardhere Hydroelectric Scheme | $3 |
| 7 | Realignment of the Regulatory Body and reinforcement of the Inspectorate. | $1 |
| Total |  | $80 |

Implementation, monitoring and institutional arrangements

146.	The energy portfolio covers several ministries, both at the TFG level and the regional government levels. A federal National Energy Authority should be given the overall responsibility for managing the short-term and medium-term reconstruction and development program. Implementation will be best achieved if the responsibility is devolved at the regional level. Depending on the structure of the regional governments, projects for petroleum-based products, coal, and electrical should be implemented by respective departments/authorities/ministries.

147.	For monitoring the projects, some base indicators have to be measured at the start of the program. These indicators have then to be monitored periodically for progress. Below are suggested base indicators for the electricity development program (project implementation):

- No of customers connected;

- Length of transmission lines installed at different voltage levels, i.e., 15kV, 3.3kV and 380V (km); and

- Total installed generation (MW).

148.	The base indicators to monitor the performance of the energy sectors are:

- Maximum demand (MVA);

- Peak generation (MW);

- System Average Interruption Duration Index (SAIDI) – No. of interruptions per customer;

- System Average Interruption Frequency Index (SAIFI) – Duration of interruption per customer; and

- System Losses ((Generation – Revenue)/Generation) in units (kWh) generated, sold. The result is in %.

IV.	URBAN INFRASTRUCTURE

Introduction

149.	Urban infrastructure in all Somali cities requires major investment due to more than 15 years of neglect and rapid urbanization. The worst infrastructure conditions occur in urban areas in SC Somalia, where the continuing conflict, lack of maintenance and looting of urban infrastructure have hindered reconstruction initiatives. In contrast, basic rehabilitation initiatives and development projects have taken place in relatively stable Somaliland and Puntland. Improvements in urban service sector (water, energy, waste management, roads and housing) have been carried out through small-scale community or private sector led local initiatives or international aid programs. Somaliland and Puntland are therefore at the stage of infrastructure development, whilst South/Central Somalia is in an early stage of rehabilitation.

Status and context

150.	Urbanization has been very rapid in Somalia after the civil war. Prior to the civil war, Somalia was predominantly a country of nomads with very small urban centers. Apart from Mogadishu and Kismayo, towns generally had populations of tens of thousands or less. Driven by the continuing internal strife in large part of the country as well as natural disasters, the urban population in major Somali towns has increased 300-500% on average during the last 15 years.

151.	The urban growth rate in Somaliland and Puntland is also very high. However, no reliable data or censuses are available. For example, population figures for Hargeisa range between 450,000 and 1,000,000, depending on the source. This has put enormous pressure on a very limited urban infrastructure stock.

152.	This urbanization process has happened haphazardly, with little spatial planning and urban management. Whilst the centers of the main settlements and some of the new villages are relatively structured in terms of lay-out, based on pre-civil war planning attempts, much of the urban space, including vacant space within the formal urban fabric, holds pockets of ‘nomadic’ tents (‘buuls’) belonging to displaced communities or recent arrivals. It is estimated that, for example, in Bosasso one out of six structures is informal. Former farmland is converted into ‘urban’ land by tracing a grid with a bulldozer, subdividing it into plots, leaving no space for public infrastructure. In other areas, land as mostly been grabbed by individuals belonging to (sub-) clans that control specific areas. An active but unregulated land market conflicts with old and recent draft laws, whereby an individual can be granted a plot for his personal use only. Failure to develop (construct) the plot means, in theory, that the ‘control’ reverts to government.

153.	Ongoing land grabbing, destruction of land data banks during the civil war, competing – and sometimes corrupt - administrations and lack of legal framework have resulted in unclear land occupancy. Consequently, continuous (violent) land disputes occur, even in the relatively stable cities of Somaliland. Urban land and property issues are discussed in detail in the JNA Governance Cluster report.

154.	Partly destroyed, inadequate and poorly maintained urban infrastructure has contributed to a sharp deterioration of living conditions in urban areas. An estimated 43% of the urban population lives in extreme poverty with 61% living on less than US$2 a day. Unemployment and under-employment is a major problem; estimated to be over 80%, and over 90% in some cities. This may reflect seasonal and serious under-employment; while the urban unemployment in general is estimated at around 60%. Extreme poverty conditions also pose daily health risks to the urban population. Urban water infrastructure is one of the worst affected, with the majority of the water supply systems in need of urgent rehabilitation and only serve a minority of the population. Private entrepreneurs without a regulatory framework dominate most basic services. This has negative effect on the urban poor in particular.

Institutional and legal framework

155.	Municipal institutions and management systems have inadequate functional capacities in Somaliland and Puntland and are absent altogether in SC Somalia. However, in the absence of clear governmental structures, central and local authorities, the private sector and community groups have taken up responsibilities on ad hoc basis. After the collapse of the central government, privatization of municipal services occurred mostly without governmental regulation, resulting in inequitable pricing and spatial monopolies in the provision of urban services. In order to engage the private sector as a key partner in the redevelopment process, private entrepreneurs will require a more stable environment for long-term business development and regulative framework from public bodies.

156.	Certain laws have passed in Somaliland and Puntland, which define the basis for taxation, the roles and responsibilities of local government and the management of land (e.g., Regions and Districts Law 23/2002 and Land Management Law 74/2003 in Somaliland). However, taking into account the contradictions mentioned above, some aspects of these laws are not easy to enforce. The city Charters for Hargeisa and Garowe are currently in the respective Parliaments of Somaliland and Puntland for approval. They may evolve into the basis for long-term urban management systems. JNA Governance Cluster report discusses urban legal framework in more detail.

157.	Another institutional constraint in the urban sector is the lack of large-scale municipal and national investment capacities required for the rehabilitation and development of urban infrastructure. This derives from the very weak tax collection systems. The present legal framework in Puntland and Somaliland is insufficient for the local authorities to develop their revenue base. The lack of transparent municipal finance systems adds to the challenge of reconstruction and development of critical urban infrastructure. Budgetary or any other support from the central administration to local authorities hardly exists. On the contrary, any national budgets increase largely at the expense of the local level.

158.	In Somaliland, a small share of overall budget (mainly raised from fees and duties at the port of Berbera and at the airports and other border points) is in principle allocated to municipalities, but its delivery is poorly planned. Municipalities thus have to raise their own funds from local taxes. In Puntland, municipalities are dependent on the central government, and budgeting and accounting systems are at an early stage of development, but addressed in the Five Year Development Plan. Thus, alongside import duties, municipalities are ad hoc sources for raising funds for the central authorities.

Strong role of non-governmental entities in urban sector development

159.	Emerging state and municipal level authorities, especially in Somaliland and Puntland, provide the basis for development of urban infrastructure management and for a more effective environment for infrastructure investments. However, the institutional set-up process is slow. For fast delivery of priority infrastructure projects (within 2-5 years) and durable, self-sustained infrastructure systems, the role of the private sector has to be enhanced and harnessed. In the same time, public authorities should design policies aiming to fulfill the right to housing for disadvantaged groups in putting in place housing credit accessible especially to women, returnees, etc..

160.	Somali urban communities possess a relatively strong private sector and civil society. However, the line between the private sector and key decisions makers is sometimes blurred and often functions along ‘clan’ divisions. Active role and interest of the private sector, CSOs and local communities in participating in urban development is critical in securing the sustainability of external investments. Private water companies have, for instance, performed relatively well in several cities with limited public involvement and funding. The private sector has also initiated housing projects for the Diaspora in Puntland and Somaliland. Local community and citizen groups support several urban infrastructure services, such as markets, sanitation and crosscutting sectors (income generation, women’s empowerment). These represent a resource for urban development planning that can mobilize through participatory urban planning processes.

161.	The five-year development target in the urban sector is thus to establish varying models for PPPs’ and non-governmental actors’ involvement in different levels of infrastructure development and basic service delivery (water supply, energy, transport, housing, solid waste management, urban planning). The municipal authorities take lead in the development of solid policy framework, service quality control and service development planning. Policies set, inter alia, would aim to fulfill the right to housing for disadvantaged groups as well instituting housing credit accessible especially to women, returnees, etc.

Criteria for selection of priority targets of JNA investments

162.	Given the vast development needs, limited donor, and local resources, the purpose of this infrastructure report is threefold:

- To improve the quality of life of the rapidly expanding urban population through stimulating high impact investments in the rehabilitation of the most essential basic urban infrastructures in the regional capital cities starting from the mobilization of local stakeholders. These are addressed through an envelope funding mechanism, based on the population size and locally agreed priorities (see Annex IV.1 and the Other Municipal Infrastructure section);

- to address directly those strategic urban infrastructure needs that have most direct and highest affect in creating an enabling environment for economic development of relevance to the regional level; and

- to reduce the potential of conflict escalation related to large-scale urban infrastructure investments. In those urban sectors where numerous private entrepreneurs (with the sometimes-strong clan affiliations) currently operate (such as water supply) or which have strong local economic importance (such as primary road construction); it will be necessary to find a solution that will satisfy all parties to avoid conflict escalation.

163.	Within this context, the proposed urban infrastructure investments could be prioritized by focusing on:

- High impact investments with a large target population in cities with a strong community mobilization capacity and willingness to set-up inclusive participatory processes;

- Large urban centers that play a major role in the growth of national and regional economies through industrial production, trade, administrative services or population growth;

- Urban centers that have a large percentage of IDPs/returnees in temporary settlements;

- Investments that contribute strongly to peace and stability.

Approach to urban infrastructure assessments and needs

164.	The JNA process assessed the existing conditions and priority development needs in the following urban infrastructure sectors: (a) water supply; (b) waste management; (c) urban roads; (d) housing & shelter for IDPs and urban poor; and (e) local small-scale municipal infrastructure. As for the other infrastructure sectors, the urban infrastructure assessment was, to some extent, constrained by the restricted access to SC Somalia due to the prevailing security situation.

165.	As an integrative long-term urban development framework, the JNA also assessed the situation and assistance needed to establish urban and regional planning systems and institutions in Somaliland, Puntland and South/Central Somalia. This will not only benefit the planning and maintenance of urban infrastructure but also all other sectors of urban and regional economies.

(A) Urban Water

Status and Context

166.	Clean water is one of the most critical resources in all urban areas in Somaliland, Puntland and SC Somalia, especially for the vulnerable groups (IDPs, urban poor, women headed households, etc.). The latest estimates suggest that less than 30% of the total population in Somalia has access to a clean, sustainable water source, and even fewer has access to basic sanitation facilities. Besides causing serious health risks, the shortage of clean water can block progress towards general economic recovery, if not adequately addressed. Indeed, the right to water requires that everyone has access to “ sufficient and safe water for personal and domestic use” to prevent disease. (WHO recommends 50 liters per person and per day). In this context, regulatory mechanisms and assistance measures must be put in place for the state to discharge its obligations. Such measures could include free basic water policies such as pertains in South Africa, and consideration be given to introduction of subsidies and similar measures essential for the survival of the poor in the urban setting.

167.	Most water supply infrastructure either are damaged or has been poorly maintained during and after the conflict. The continuing conflict in various locations and lack of a functional central government have resulted in chronic under-investment in urban water infrastructure, institutions and policies. Only in the relatively more stable areas, such as Somaliland and Puntland, basic investments have been made to improve the water supply, mainly by the international community.

168.	These investments have not even come close to being able to provide the rapidly growing urban population with piped or other adequate water supply. In the late 1990’s, for example, UNICEF and EC have implemented or supported a number of urban and rural water projects, including a recently completed 3-year project in Puntland (Garowe, Gardo and Galkaio), Somaliland (Borama and Gebiley) and South-Central Somalia (Jowhar). The private sector is generally reluctant to invest in a conflict environment where no legal guarantees or regulations are applied.

169.	Water sources are inadequate in terms of quantity and quality. More geo-hydrological surveys are needed to locate adequate and sustainable sources of high quality water. The vast majority of the population in Somaliland, Puntland and SC Somalia obtain water from natural resources such as boreholes and shallow wells. Shallow wells are often located within the settlements and the quality of the water is often poor due to pollution from surrounding latrines. This causes frequent outbreaks of water related diseases such as cholera and diarrhea. Common methods of water collection in the urban centers include:

- Piped distribution by private or public water services;

- Collection from wells and boreholes run by private suppliers or water kiosk vendors;

- Delivery by water tank lorries to either individual houses or to the area; and

- Delivery by donkey cart vendors to individual houses.

170.	Parallel water supply systems have created unequal water markets in areas of water shortages. Water is cheapest for households connected to the piped water supply (generally the highest income customers) and most expensive for those collecting water from far away points in small quantities.

Institutional and legal framework

171.	Prior to the civil war, urban water supply in Somalia was managed by the public sector. However, even before the war, the water sector was facing financial difficulties and water supply systems in many cities were inadequate. For example, Mogadishu relied on German and Chinese Government assistance to maintain the water supply system.

172.	Facing the mounting water supply crisis, both Somaliland and Puntland have attempted to re-organize the urban water sector and have established basic local level institutions (Water Agencies) to manage water sector development. This has enabled the flow of some investments into basic water infrastructure expansion in Somaliland and Puntland. However, responsibilities between various water authorities in Somaliland and Puntland remain unclear and their power to enforce decisions and control activities is often non-existent. For example, unauthorized digging of boreholes near the water agency occurs. In SC Somalia, there are no well-defined local or central government institutional structures to develop and maintain water supply systems. Private companies have developed functional services in some cities in the region.

Regional Situation

Somaliland

173.	The current water supply situation in Somaliland is inadequate due to a variety of factors including an arid climate. The basic facts are as follows: (a) 45% of urban population is served by either piped water or water kiosks/trucks, while 45% of rural people use water catchments; and

(b) the current water requirement of Hargeisa city is between 12,000-20,000m3 per day (depending on the source of the information), while the output capacity is only 6,000-8,000m3 per day. A paradox is that four companies are treating ‘public’ water supplied through piped connection and are selling and even exporting it as mineral water.

174.	In Hargeisa, the water charge is $1.20/m3 for private customers with piped connection; $4/m3 for donkey cart deliverers and $10/m3 for water kiosks and trucks. This implies that the more vulnerable groups are paying more than three times the price paid by more affluent groups. Furthermore, the IDPs living in and around Hargeisa and other large cities in Somaliland are particularly vulnerable to water shortages and low quality water.

Institutional and legal framework in Somaliland

175.	What follows are the basic institutions, division of responsibilities and regulation in place in Somaliland:

- The responsibility of urban water supply is shared between various ministries and agencies (see Table 4.1);

- managers of regional water agencies should come under the Mayor of their locality but these have no power to appoint the managers. The president of Somaliland usually appoints the general managers of Hargeisa, Berbera and Burao; and

- all major cities in Somaliland have their own water authorities, for example Hargeisa Water Agency. Water agencies in Somaliland are semi-autonomous and self-accounting.

176.	The National Water Policy for Somaliland was approved by the Council of Ministers in 2003 and is now a formal working document. The Water Act and Water Regulation were completed in 2005, and are currently awaiting government approval.

177.	Somaliland has good PPP practices in the urban water infrastructure. For example, the public-private water supply partnership in Boroma is considered a success and best practice model that could be applied to other cities in Somaliland and beyond. Some stakeholders argue that proper regulation of the water delivery system would increase interest of the private sector to invest in the water supply development in Somaliland.

Table 4.1: Division of water sector responsibilities in Somaliland

| Function | Responsible body |
| --- | --- |
| Urban water supply development | Ministry of Interior and municipalities |
| Urban water policy, operations, regulation & quality control | Ministry of Water & Mineral Resources |
| Coordination of long term planning and fund raising | Ministry of Economic Planning |
| Sanitation | Municipalities |

The State of Puntland

178.	Like Somaliland, Puntland suffers from major water shortages. Safe drinking water shortage is a recurring problem throughout Puntland. For example, in Bosasso 60% of the population gets water from approximately 500 shallow wells within the urban area with questionable water quality. Only about 40 % of the population of Bosasso is served by the water supply network.

Institutional and legal framework in Puntland

179.	Basic water sector institutions, division of responsibilities and regulations are in place in Puntland. The main body is the Puntland State Agency for Water, Energy and Natural Resources (PSAWEN). Ministries and the private sector are also involved in the urban water supply (see Table 4.2). However, the government lacks sufficient financial resources to develop urban water supply to the required extent.

Box 1. Example of a private water supplier in Puntland The main private supplier is GUMCO (Golden Utilities Management Company). It was granted a 10-year lease contract by the municipalities of Galkaio and Bosasso to operate the water supply system. GUMCO reports to a Board of Directors and to PSAWEN. With some success, it has invested in system improvements in Galkaio. GUMCO has also constructed water kiosks in poorer areas of the city and provided cleaner and more affordable water for a larger population. Since taking over the water supply management system in 2003, the Galkaio water company has connected 2300 houses to piped supply, constructed 50 water kiosks and 7 truck-filling points. In addition, the network was extended from 25 km to 150 km. The price of water as been reduced from $8/m3 to $1/m3 for those connected to pipeline and to $0.6/m3 for those using water kiosks. GUMCO has prepared a complete, costed plan for further extension of the supply system. GUMCO has finalized a proposal for the extension of Bosasso water supply system in January 2006, but the proposal and its costs have not been verified independently.

Table 4.2: Division of water sector responsibilities in Puntland

| Function | Responsible body |
| --- | --- |
| Water related environment issues | Ministry of Interior |
| Water related health issues | Ministry of Health |
| Urban water policy, operations, regulation & quality control | Puntland State Agency for Water, Energy & Natural Resources PSAWEN |
| Urban water supply operations | Private water companies (e.g. GUMCO) |

SC Somalia (excluding Benadir)

180.	In light of the continuing strife in large parts of SC Somalia, there has been very little investment in the rehabilitation and development of water supply infrastructure. The international community has carried out individual projects to rehabilitate or develop fundamental urban water supply infrastructures (drilling of boreholes, mini water supply systems) in relatively safe urban areas.

Institutional and legal framework in SC Somalia

181.	The absence of a functioning central and local government structures have further complicated the investment in the water sector management in South/Central Somalia. The private sector plays a significant role in the urban water supply. However, with the establishment of the TFG the following has occurred: (a) At the central government level, the TFG has established a Ministry of Water and Natural Resources. No agencies or urban water legislations are yet in place; and (b) one of the priority tasks of the TFG is policy development to deal with the fragmentation of the water services and to clarify the role of the TFG itself.

Box 2. Examples of a successful private water supplier in the SC Somalia: The first private water company in the Somaliland, Puntland and SC Somalia, Farjanno Water Company, was established in Jowhar, and has been a success. It has made a positive impact on the entire urban community, with significant improvement in access to clean water and reduction of water-borne diseases, such as cholera. The company has contributed to local schools and to various charities. Jowhar (population between 30,000 -35,000) has at present an adequate and expanding water supply. Farjanno can be an example of what the private sector is able to do at the local level in a stable operational environment. Other cities are adopting the Jowhar model gradually. These include GUMCO, and most recently, Garowe, and Borama public-private water sector partnership. Nonetheless, interference from outside is common and exerts pressure on private water agencies. In Baidoa, a private company Mumin Global Service and Trading Agency (MGSTA) is in charge of water services ‘by default’. The company took over after the collapse of the government, but has no formal contract or partner. Instead, they obtained an agreement with Baidoa communities to invest in water supply. MGSTA Board of Directors has invited some influential people join in order to gain consensus and a safe operating environment.

Benadir region (Greater Mogadishu)

182.	The situation analysis of water supply infrastructure in the Benadir region is based on local coordinator and local NGO descriptions due to the security situation that makes collection of first hand information challenging.

Institutional and legal framework

183.	The provision of water supply in Benadir is now dominated by default by the private sector. Recent estimates show that about 550,000 people have direct access to water while 650,000 get water through private vendors. However, no major water shortages have been reported for Benadir.

184.	About 400-500 private water supply companies operate in and around Mogadishu without central or municipal government regulation. The water quality varies between vendors from good to unacceptable/toxic. Some supply only small neighborhoods while others have a large customer base. Existing private sector structures in the water supply in the Benadir region gives a basis for the system expansion based on best local practices, while the emerging municipal water institutions should focus on the development of regulatory and planning frameworks for the Benadir region.

Table 4.3: Short term (2-year) priority interventions in urban water supply

| Proposed activities | Target cities | Unit cost | Total cost In US$ million |
| --- | --- | --- | --- |
| 1. Extent the geo-hydrological survey on water in Somaliland to other cities in Somaliland and to Puntland | Cities to be identified |  |  |
| 2. Continue investments in urban water infrastructure (drill boreholes, install pipelines) in cities where good municipal water sector management is in place. Target at minimum of 20 boreholes in the 1st year, 30 boreholes in 2nd year - 1st year assessments, new boreholes & pipelines | Hargeisa, Boroma, Burao, Erigavo, Bosasso, Gardho, Galkaiyo | $100,000 per new borehole; $50,000 for rehabilitation of a borehole | $0.10 $5.0 |
| 3. Implement local urban water infrastructure rehabilitation/ development projects, targeting at 30 % urban population coverage, where good management has been created in the water sector - 1st year assessments, water infrastructure system rehabilitation | Cities in S/C Somalia to be identified | $13 per capita | $0.10 |
| 4. Establish a multi-sectoral Water & Sanitation Committee for each regional capital to coordinate water sector regulatory framework and the water service development; Build capacity of the Committee for Water & Sanitation through provision of training and equipment - Policy consultants, training, equipment | Regional/Zonal capitals | $150,000 per city | $2.70 |
| 5. Support creation of public-private partnerships and private utilities for municipal water supply - Training, workshops | Regional/Zonal capitals | $30,000 per city | $0.60 |
| 6. Develop a national Water Policy (further develop & enforce the Somaliland Water Policy) and municipal revenue collection policy; clarify the role of the TFG - Policy consultants, administration |  | $100,000 SL; $200,000 each PL & S/C | $0.50 |
| Additional priorities in Benadir region: |  |  |  |
| 7. Reduction of the number of water companies operating in Mogadishu by merging small ones into large and medium size companies. - Workshops, administration | Mogadishu |  | $0.10 |
| 8. Carry out a controlled closure of private wells within urban areas, minimizing conflict escalation risk through the use of compensation schemes - Workshops, administration | Mogadishu |  | $0.10 |
| Total: |  |  | $8.70 |

Table 4.4: Medium term (5-year) strategic investments in urban water supply

| Activities | Target cities | Scope | Unit cost | Total cost US$ million |
| --- | --- | --- | --- | --- |
| Rehabilitation/extension of urban water supply in regional capitals, targeting additional 30 % of the total population. - Boreholes, pipeline, power sources, management | Hargeisa, Burao, Erigavo, Bosasso, Gardho, Garowe,Galkayio, Jowhar, Kismayo, Merka, Baidoa, Mogadishu | Local | Average $910,000 per city/ $13 per capital | $19.0 |
| Construction of new urban water supply in regional capitals, targeting 30 % of the population. - Boreholes, pipeline, power sources, management | Las Canood, Dhusa-Mareeb, Belet Wayne, Xudur, El-Waq, Bu’aale | Local | Average $500,000 per city/ $7 per capita. | $3.0 |
| Total: |  |  |  | $22.0 |

Implementation and institutional arrangements

185.	The implementation of the short and medium term proposed investments in the urban water sector will face numerous challenges ranging from a lack of capacity in parts of the country, and overall funding constraints. Furthermore, the strong presence of the private sector in the provision of water supply will require careful management to avoid exacerbating local tensions. The following are the proposals for an implementation and institutional framework for the rehabilitation and development of water supply infrastructure:

- While JNA targets at 30 % population coverage in urban water supply in the medium term, (up from xxx% in ggg), the existing and future public-private/private water agencies should take the responsibility of expanding the water supply to cover 100 % urban population/households in the long-term on cost-recovery basis. Public sector regulation should be organized through the work of the regional Water & Sanitation Committees that will coordinate regional and inter-regional Water Policy preparation, water sector service development and needs & priority analyses. Legal and institutional frameworks should ensure affordable access to clean water for the urban poor;

- various public and private parties currently involved in water supply should retain ownership in the development projects and their management during implementation to ensure local capacity development. This should be done within a clearly defined regulatory framework;

- the rehabilitation projects in Somaliland and Puntland should take place under existing ministerial and public agency oversight. In South/Central Somalia, the emerging municipal authorities and local communities have a role to play;

- in the medium term, the TFG can lay the foundation for water sector institutions and prepare legislations at the federal level; and

- technical implementation of all the urban water development projects should be a responsibility of international organizations with considerable experience and have knowledge of the current water situation in the country.

Monitoring

186.	Some of the indicators suggested for monitoring how successful the short and medium term rehabilitation and development investments proposals:

(a) the number of people with access to safe drinking water;

(b) The distance people have to travel to get safe water;

(c) the extent of the expansion of the water supply network in major urban areas;

(d) the affordability of water, especially for the poor and disadvantage people;

(e) the reduction of all water related diseases; and

(f) the participation of women and other minorities in the management of the water supply system and in the workforce

(B)	Urban waste management

Situation and context

187.	Detailed information is available on the urban solid and liquid waste management situation in Somaliland and Puntland, while more information is needed for SC Somalia, especially in the largest cities (Mogadishu, Kismayo).

188.	The overall urban waste management situation is critical in SC Somalia and poor in Somaliland and Puntland. Existing systems and the situation commonly found are as follows:

Solid waste

189.	In Somaliland and Puntland, municipalities have limited human and technical capacity and skills to carry out waste collection. Small private companies and local NGOs are involved in waste collection and disposal in most towns. In addition, individuals, mostly women (either IDP or other poor), collect solid waste directly from households in return for a fee. They use low quality equipment, such as wheelbarrows and transfer the solid waste to the local collection points. From there, the waste is transported by, either private or municipal trucks, to (commonly unregulated and uncontrolled) dumping sites. Poor coordination between these two levels of collection result in a multitude of illegal dumping sites in the urban areas and cause major sanitation problems. No system exists to collect plastic bags. This creates a major waste management problem.

190.	In SC Somalia, individuals collect solid waste, such as household waste, on a voluntary basis, and burn or bury it in shallow pits within their housing plots. These are not generally emptied, but covered once full. In some places, semi-organized collection systems exist. No system exists to collect plastic bags and this creates a major waste management problem.

Liquid waste/sanitation

191.	In Somaliland and Puntland, the common toilet system adopted is dry pit latrines. Within upscale neighborhoods, also aqua privy latrines exist. The former are rarely managed. Users dig another pit as the previous one becomes full. Latrines are not planned according to environmental standards and thus pollute scarce ground water resources. The main issues affecting liquid waste management and sanitation in urban areas include:

- Liquid waste collection is rare with less than 2 % of waste water being discharged outside urban areas. Waste waters are commonly thrown to the streets with no communal rules. This forms an immediate health hazard, for the children in particular. Only in very few cases (restaurants and shops), waste water is collected by trucks and carried to liquid waste sites;

- There are few latrines with septic tanks and 2/3 of these are not managed;

- Community spaces, such as market places, slaughterhouses and hospitals lack septic tank liquid waste management and toilets. In some towns, limited liquid waste collection is organized from community facilities;

- Drainage is poor in nearly all towns in Somaliland and Puntland. Existing systems are often blocked by solid waste. Urban construction has disturbed the natural drainage systems and cause accumulation of water in ponds (leading to spread of diseases) and frequent flooding;

- Sanitation conditions in the numerous IDP settlements are often very poor or totally lacking. This forces the people to relieve themselves in the areas around the settlements.

192.	The situation with regard to liquid waste management in SC Somalia as not been studied to the same extent as that of Somaliland and Puntland, but it is clear that many problems and issues are common between the regions. Only a fraction of the already very limited pre-war sewage system in Mogadishu is still functioning. This implies that a more cost effective liquid waste disposal system must be developed for Mogadishu.

Policy and institutional framework

193.	No national or municipal waste management policies or responsible institutions exist in Somaliland, Puntland and SC Somalia. Local authorities decide on an ad-hoc basis on how to manage solid waste. This was the case also prior to the civil war. Furthermore, the municipal taxation system is inadequate to cover waste collection costs and no integrated water tariff (including collection, discharging and treatment of wastewater) systems exist. Individual collectors mostly charge the households directly. Municipalities usually cover the cost of transporting solid waste from urban collection points to dumping sites. However, no direct cost-recovery systems seem to be in place for this.

Identification of needs, issues and opportunities

194.	The urban waste management problem has exacerbated by the rapid, uncontrolled urban population growth. Local authorities do not possess the capacity to meet the growing needs. It as been estimated that waste production in the cities of Somaliland and Puntland exceeds the collection capacities by a factor of four to ten times. Reliable information on waste collection capacities in SC Somalia is not available. The continued rapid urbanization in all parts of Somalia may lead to major outbreaks of diseases caused by the uncontrolled disposal of increasing amount of waste. The lack of available space in many congested urban centers for waste management activities further aggravates problems.

195.	Throughout Somalia, there is limited knowledge, technical capacity and equipment for waste collection and disposal. The number and level of maintenance of solid and liquid waste collection trucks for transporting waste from collection points to dumping sites and treatment equipment is insufficient. Furthermore, the sanitation workers have no training or means of protecting themselves from toxic and harmful waste.

196.	A complete lack of regulated solid and liquid waste dumping sites and the lack of coordination between door-to-door collection and centralized transfer points have resulted in numerous illegal sites within urban areas. Locations of existing dumping sites are not determined according to geophysical or hydrological surveys. Liquid waste and sewage are commonly deposited in wadis and landfills with no environmental management or restrictions to public access. Furthermore, special management system for hazardous and medical waste by municipal or private sector exists only in few towns in Somaliland and Puntland. These focus on selected industrial or commercial properties. Hazardous substances are dumped into landfills or dry-river beds with no environmental management.

197.	In the absence of coordinated waste management systems, the private sector and civil society organizations, linked to varying arrangements with the local authorities, have attempted to solve the most urgent waste management problems. Livelihood opportunities exist for local entrepreneurs and individuals to manage the various components and stages of solid and liquid waste collection and disposal systems.

198.	The following are some emerging good practices in local public-private management systems in Somaliland and Puntland: (a) Localized cost-recovery systems for waste management are in place mainly for commercial premises, such as market places, in Somaliland and Puntland;

(b) Some municipalities in Somaliland have carried out successful clean-ups and awareness building campaigns in collaboration with the private sector or local communities (especially women and youth organizations); and (c) Several international organizations are operating in Somaliland, Puntland and South/Central Somalia focusing on setting up low-technology solid waste management systems, linking all available public and non-governmental actors that can help address immediate practical needs in major towns. Organizations have implemented situation analyses and pilot waste-management projects through joint efforts.

Table 4.5: Immediate (2-year) interventions in solid & liquid waste management

| Suggested interventions | Target cities | Unit cost | Total cost US$ million |
| --- | --- | --- | --- |
| Support development and strengthening of private companies and PPPs in all aspects of solid waste management to ensure adequate service capacity to cover 50 % of waste collection and disposal needs in selected cities. Increase community awareness. Use labor-intensive systems where applicable. (Activities target approx. 20 cities); Support development and capacitating of private companies and PPPs in managing disposal of liquid waste from selected sources. Increase community awareness. Use labor-intensive systems where applicable. (Activities target approx. 20 cities) - Training, policy consultants, workshops, regional study tours | Towns with >20,000 inhabitants | $250,000 per city | $10.0 |
| 2. Support the municipal capacity building. Experiment with integrated cost recovery system (water tariff based taxation) where possible in order to create self-sustained waste management system (targeting approx. 20 cities) - Training, policy consultants, regional study tours | Towns with >20,000 inhabitants | $220,000 per city | $4.40 |
| 3. Construction of high quality dumping sites (options: semi-aerobic landfills or sites to dump and burn based on local environmental conditions) incl. geo-physical survey and planning exercise to identify safe locations for new dumping sites in all regions (targeting 15 cities in SC Somalia, Puntland, Somaliland) - Construction, surveys | 15 Regional capitals | Average $250,000 per city | $3.75 |
| 4. Labor intensive clean up operations immediately upon establishment of peace and stability in individual towns in South/ Central Somalia, involving IDPs/returnees and demobilized militia (targeting approx 10 cities) - Administration, equipment | To be identified as the situation allows | Average $200,000 per city (depending on the size) | $2.0 |
| 5. Experiment with neighborhood level domestic septic tank systems in selected urban centers (targeting approx 6 cities) as part of a broader feasibility study - Equipment, installment, training | Selected cities in Puntland and Somaliland | $250,000 per city | $2.5 |
| 6. Investment in most essential equipment for solid & liquid waste collection in the largest urban canters in SC Somalia. Related training of the collection work staff (targeting approx. 5 cities and 2,000,000 people) - Equipment capital costs, training | 5 cities in SC Somalia as situation allows | Average $1.50 per capita | $3.0 |
| Total: |  |  | $25.65 |

Table 4.6: Medium term (5-year) strategic investments in solid & liquid waste management

| Activities | Target cities | Scope | Unit cost | Total cost |
| --- | --- | --- | --- | --- |
| Rehabilitation/ extension/ creation of drainage in regional capitals. Consider rehabilitation/ extension/ creation of sewage systems in regional capitals where no system in place (cost of open drainage based on construction scope of 5 km per city) - Open air drainage construction (equipment, labor, training) | Erigavo, Gardho, Garowe, Galkaio, Jowhar, Merca, Baidoa, LasCanood, Dhusa- Mareeb, Belet Wayne, Xudur, Bu’aale | Regional | $100,000/ km | $6.0 |
| Build additional liquid waste management systems following the feasibility study carried out previously (target c. 2,000,000 people) - Equipment, labor | Mogadishu, Kismayo, Hargeisa, Bosasso | Regional | Average $35 per capita | $72.0 |
| Regional and local waste management policies developed in all regions to regulate operations - Policy consultant, workshops, administration |  | Somaliland, Puntland, S/C Somalia | $200,000 | $0.60 |
| Waste management system established for large industrial production units and in major industrial areas (approx. 10 units to be constructed) | (to be identified in collaboration with the Productive sector) | Regional |  |  |
| Total: |  |  |  | $78.6 |

Implementation and institutional arrangements

199.	Implementation of the short- and medium-term priority interventions/investments in solid and liquid waste management will require a coordinated action from local entrepreneurs, municipal authorities and the civil society, supported by international organizations. International financial assistance will cover approximately 50 % of urban waste collection and disposal needs in selected cities. Enabling private sector and public-private partnership arrangements should set the stage for further expansion of the system and sufficient cost-recovery.

200.	Municipal authorities need support in development and enforcement of local and regional waste policies and in leading the service development and priority needs assessments. Municipal revenue systems for waste management needs to be established in order to support the policy and administration development in waste sector and to support those components of waste management systems that cannot be yet covered on cost recovery basis by the private sector (e.g. disposal sites and servicing of poorest neighborhoods). At the central government level, the Ministries of Water, Health and Labor in Somaliland and Puntland are in position to take a lead in coordinating the development of a national level waste policy. In the case of SC Somalia, it is not clear who would take the lead.

201.	The existing private sector implementation capacities in urban waste sector provide a starting point to scale up services in the major towns in Somaliland and Puntland. However, in order to meet the required service standards and coverage, public-private partnership and the private sector need improved technical and managerial capacity support from the international organizations in the short-and medium-term. Private sector has the capacity to cover part of the capital and operational cost for low-technology collection systems through private cost recovery based services.

202.	Waste management systems should be developed using the experiences gained in ongoing local projects that have engaged NGOs, municipalities and private sector to develop proposals and action plans for cost recovery based solid waste management systems. These are tailored to the specific conditions and needs of each target town in Somaliland and Puntland. During the system development, it is important that IDPs (usually women), for which small-scale waste collection at neighborhood level provides a means of livelihood, are not excluded from their income source.

203.	Information obtained from SC Somalia so far indicates that the capacities are more limited than those in Somaliland and Puntland. Thus, the role of international assistance in the establishment of waste management systems is expected to be bigger in terms of further assessments, supporting immediate service provision and building local municipal and private sector capacities. The role of private companies is likely to become central in this region.

Links to other JNA sectors

204.	Productive Sectors: Large industrial plants that would generate hazardous waste should not be rehabilitated or established in and around cities where there is no waste management systems in place to handle hazardous waste. This highlights the critical importance of investments in solid, and liquid waste management systems in cities that possess economic growth potential. The two clusters need to coordinate on the waste management systems and industrial development projects.

205.	Livelihoods & Environment: Waste management provides a number of opportunities in local livelihoods that do not require high investments. The required health and environmental issue training can be conducted at relatively low costs.

206.	Infrastructure/Urban Roads: In the case that citywide sewage system networks will not be constructed because of the JNA, the sewage network (or space reservation for pipelines) should

UNDP/World Bank Somalia Watchbrief (2002)

ibid

Jab Swart “Mine Action Program for Somalia” Journal of Mine Action, Issue 6.1, April 2002.

Bjarke Z. therkilsen “ Final De-mining Report for Kalabydh-Togwajaale Road and Hargeisa-Buroa Road” Danish De-mining Group, contract: SO/7-661-01.

Somalia Infrastructure Rehabilitation Project. Staff Appraisal Report, The World Bank Report No. 8220-SO, September 14, 1990. Recent sources via Internet estimate the total as 22,100 km.

Areas 6-7 now correspond roughly to the regions of Somaliland and Puntland.

Classification is based on CACAS Infrastructure Study

Airport resurfacing cost is based on ICAO estimates.

Estimate from Studies by NESHA and Carl Bro, Kenya, Limited

Estimates is based on Proposal prepared by UNDP/UNCTAD

Based on a recent detailed property survey (2005)

UNDP/World Bank Somalia Watchbrief (2002)

ibid

Cities in the South/Central Somalia will be identified based on quality of water management and security conditions.

The number of target cities to be decided based on assessments. Budget not included in the total.

Africa 70 and UNICEF are involved in the extension of Hargeisa water supply and have accurate costing of development needs.

Total sum excludes Merka and Baidoa.

Total investment will be calculated for 30 % population coverage when population number is known.

Sewage system construction cost (average $35 per beneficiary) not included in the costing.